## Functions
Module | Function | Calling funct | Args | kwargs | subfunctions | Methods | Returns | Docstring | Status | Description | TODO
integquant | integbatchquant |  | spelist, Smdifpeakslog, AESquantparams, Elements, reprocess=False, overwrite=True |  | integpeaks,makesavgol,fitbackgrounds,findpeakshifts |  | Linearfitlog, Integquantlog # not auto-saved ... must be manually saved | Batch quantification of all peaks in Elements list and noise amplitude at all chosen background regions (Backregs) returns df with peak positions, amplitudes, width, energy shift, etc. # create empty dataframe for storing/passing linear fit params (same structure as in fitbackgrounds) #mycols is df structure for background fit parameters mycols=['Filenumber', 'Filename', 'Filepath', 'Sample', 'Comments', 'Date', 'Areanumber', 'Element', 'Lower1', 'Lower2', 'Upper1', 'Upper2', 'Lowrange','Highrange','Peakshift', 'Fittype', 'P1','P1stdev','P2','P2stdev','Rval1','P3','P3stdev','P4','P4stdev','Rval2'] # mycols2 is df structure for integquantlog mycols2=['Filenumber', 'Filename', 'Filepath', 'Sample', 'Comments', 'Areanumber', 'Element', 'Integcounts', |  | Main loop through all desired files for batch integ fits
integquant | makesavgol | integbatchquant | df, areanum, evbreaks |  |  |  | df # returns savitsky-golay smooth diff over same full region | Perform python smooth-diff used to guide selection of background regions perform this in chunks between evbreaks (list), works for survey or multiplex, adds col to Augerfile and returns evbreaks is list of index #s countsname='Counts'+str(areanum) # add savgol column (only called if not present) savgolname='Savgol'+str(areanum) df[savgolname]=0.0 # add/initialize col for 2nd deriv Sav-gol |  | In case not done during batch import, add and save savgol column(s) for single spe file
integquant | findpeakshifts | integbatchquant | logmatch, areanum, Smdifpeakslog, Elements |  |  |  | shifts as list of floats | Find shifts of negpeak positions for each element in list for single spe file, return as list of floats pass series with filename and given area # TODO problem if len(Elements)!=len(Shifts) due to couldn't find peak error filename=logmatch.Filename # get number from Series thispeakslog= Smdifpeakslog[(Smdifpeakslog['Filename']==filename)&(Smdifpeakslog['Areanumber']==areanum)] # need to match area number and file number for finding unique shift for this elem Shifts=[] # shift in peak position suggested by smdiff quant method | done | For each element in list, get shift of negpeak from prior run of smooth-diff method (pass and use as shift param in same order) | Shifts
| findfitregs + modfitregs + fitbackgrounds (eliminate modfitregions) | [8 empty] | Pass fitregion that is wider by 2*peakshift than ideal region-- use OLS incl. outliers to refine fit boundaries and do fit in a single function
integquant | fitbackgrounds | integbatchquant | Augerfile, areanum, Elements, Shifts, AESquantparams, logmatch |  | fitCapeak,makeCabackground,fitpeakbackground,definefitreg |  | fitpeakdf (new background fits), fitparams (slope,intercept, point fit range), R2 val (for tossing vals) | takes element strings and element list and returns tuple for each elem symbol containing all params necessary to find each Auger peak from given spe file tuple for integ peak is symbol, ideal peak index #, and integ kfactor # integpeak is position of direct peak relative to ideal negative peak in smooth-diff S7D7 # lower1,lower2 and upper1,upper2 are boundaries of lower and higher energy linear backgroundfit (again energies relative to negpeak) # Incorporate shifting of background fit regions into this section from ideal position based on savgol deriv Energyvals = Augerfile.Energy # evbreaks=logmatch.Evbreaks # needed to ensure fit boundaries don't cross into adjacent element |  | Linear background fits above and below peak, saved in source csv
integquant | fitpeakbackground | fitbackgrounds | Augerfile, fitbounds, areanum, maxshift, elem, AugerFileName |  | makeinterplinebackground,fitsingleline,comparelinfits,refineboundfit,definefitreg |  | lower and upper slopes/intercepts | Simultaneously deal with linear fits below and above peak of interest use residual/outlier detection to trim boundaries of linear fit regions (more robust than deriv threshold style return lower and upper slopes/intercepts background is either single linear fit or interpolated between the two fitbounds (length 4 list) has index #s of lower and upper bounds of fit below peak and fit above peak cntname='Counts'+str(areanum) # can use Counts or Smcounts ... probably smcounts is better for background fitting energybounds=[] # two strings with fitted energy ranges
integquant | definefitreg | fitpeakbackground, fitbackgrounds | bound1, bound2, maxshift, Augerfile, evbreaks |  |  |  | lowbound, upbound # this is range of Auger slice that'll be used | Widen fit region from standard size (based on allowed maxshift) and ensure that multiplex evbreaks are not included in the region also make sure one doesn't go into region with no data; both fitbounds and evbreaks are index # for this file (not energy values) lowbound=bound1 for i in range(bound1, bound1-maxshift-1, -1): # lower by allowed shift but ensure not at data boundary if i not in evbreaks and i in Augerfile.index: # also ensure we don't exit boundaries of dataset here lowbound=i else: break |  | ensure that expanded background fit region boundaries do not cross evbreak boundaries in multiplex scans
integquant | refineboundfit | fitpeakbackground | xdata,ydata, maxshift, fitbounds, AugerFileName, elem |  |  |  | linfitparams, lowbound, upbound, evrange | Perform linear fit over region, compute residuals, and adjust fit boundary to remove edges of peak regions that may appear fitbounds is length 2 list of index # boundaries, returns [slope,intercept,rval,pval,stderr] and altered fit boundaries #TODO consider Ramer-Douglas-Peucker algorithm as next step # linear fit over both background regions lowbound=fitbounds[0] upbound=fitbounds[1] slope,intercept=np.polyfit(xdata, ydata, 1) |  | pass x,y data and max shift, fit linear and find adjacent portions
integquant | comparelinfits | fitpeakbackground | lowfitparams,upperfitparams, thresh=2 |  |  |  | diff | See if linear fits above and below peak are significantly different (ie. do slopes and intercepts agree within 2 stdevs (or other chosen threshold) # fitparams are: 1) slope, 2) intercept 3) stdev of slope 4) stdev of intercept 5) R-val slope1, intercept1, errslope1, errintercept1, rval1 =lowfitparams slope2, intercept2, errslope2, errintercept2, rval2 =upperfitparams if slope1>slope2: if slope1-thresh*errslope1 < slope2+thresh*errslope2: # no sig diff in slope slopediff=False |  | decision algorithm for single fit or separate interpolated linear fits
integquant | fitsingleline | fitpeakbackground | Augerfile, areanum, fitbounds |  |  |  |  | Perform linear fit over entire background region (lower and upper) when both separately fitted give similar results fitbounds is length 4 list of lower and upper index # boundaries ... fitparams not returned (since these shouldn't be significantly different from those already stored, returns Augerfile with background fit added |  | if lower and upper fits are in agreement, just do single linear fit (and create background)
integquant | makeinterplinebackground | fitpeakbackground | Augerfile, areanum, fitbounds, lowerfitparams, upperfitparams |  |  |  | df # | Create interpolated background from lower and upper peak fits passed small slice of Augerfile df just peak region and small adjacent background fitparams are 1)slope, 2) intercept 3) stdev of slope 4) stdev of intercept 5) rvalue # check for n/a values if lowfitparams[0]=='n/a' or upperfitparams[0]=='n/a': # prior linregresss problem return df # return unmodified file lowslope=lowfitparams[0] lowintercept=lowfitparams[1] |  | Decent way to interpolate for approximately linear regions;
integquant | makelinebackground |  | df, areanum, fitparams |  |  |  | df # | Create linear background under peak region passed small slice of Augerfile df just peak region and small adjacent background if fitparams[0]=='n/a': # prior linregresss problem return df # return unmodified file slope=fitparams[0] intercept=fitparams[1] backfitname='Backfit'+str(areanum) for index,row in df.iterrows(): # blend between lower line and upper line
integquant | makecubicbackground |  | df, areanum, fitparams |  |  |  | df | Fill background col of auger spe file with values derived from 2nd order poly fit (pass region under peak not fitted by fit Ca peak (which only grabs adjacent background) backfitname='Backfit'+str(areanum) if len(fitparams)!=4: # prior fitting error already reported via print return df A=fitparams[0] B=fitparams[1] C=fitparams[2]
integquant | makeCabackground | fitbackgrounds | df, areanum, fitparams |  |  |  | df | Fill background col of auger spe file with values derived from 2nd order poly fit (pass region under peak not fitted by fit Ca peak (which only grabs adjacent background) backfitname='Backfit'+str(areanum) if len(fitparams)!=3: # prior fitting error already reported via print return df A=fitparams[0] B=fitparams[1] C=fitparams[2]
integquant | fitsingleline | fitpeakbackground | Augerfile, areanum, fitbounds |  |  |  | Augerfile | Perform linear fit over entire background region (lower and upper) when both separately fitted give similar results fitbounds is length 4 list of lower and upper index # boundaries ... fitparams not returned (since these shouldn't be significantly different from those already stored, returns Augerfile with background fit added # linear fit over both background regions cntname='Counts'+str(areanum) # use counts itself (not any smoothed counts) backfitname='Backfit'+str(areanum) indexrange=[i for i in range(fitbounds[0],fitbounds[1]+1)]
integquant | fitCapeak | fitbackgrounds | df, areanum, elem, AugerFileName |  |  |  | chunk with backfit column added ''' | Pass appropriate chunk from Auger spectral dataframe, perform linear fit return chunk with backfit column added if 'Smcounts'+str(areanum) in df: # some dfs may lack smoothed counts colname='Smcounts'+str(areanum) else: colname='Counts'+str(areanum) # probably no critical difference between either backfitname='Backfit'+str(areanum) xcol=df['Energy'] |  | polynomial fit from local min to flat region beyond
integquant | fitgauss | integpeaks | df, areanum, width, elem, AugerFileName, addgauss=True |  |  |  | width and other params |  |  | Gaussian fit of subtracted peaks
integquant | fitcubic |  | df, areanum, elem, AugerFileName |  |  |  | chunk with backfit column added ''' | Pass appropriate chunk from Auger spectral dataframe, perform cubic fit return chunk with backfit column added if 'Smcounts'+str(areanum) in df: colname='Smcounts'+str(areanum) # use smoothed data for background fits else: colname='Counts'+str(areanum) backfitname='Backfit'+str(areanum) xcol=df['Energy']
integquant | integpeaks | integbatchquant | Augerfile, Backfitparams, areanum, Elements, Shifts, logmatch, AESquantparams |  | fitgauss,findintegparams |  | Augerfile, Integresults # df with direct peak fitting info for all areas/ all elements | Background fit for each direct peak, shift is list of energy shifts of negpeak (same order as Eledata (opens source spectrum as Augerfile, fits peak backgrounds above and below using Elemdata, saves background to source csv (overwrites existing fits), also saves linear fit params to logdataframe with position/amplitude/etc; desired elements out of data range are skipped (in prior findindices function) backfitparams is all elements but only this Augerfile #create Smdifpeaks dataframe for temp storage of each peak's params Backfitparams=Backfitparams.dropna(subset=['Rval1']) # skip integration/Gaussian fit if background fit failed |  | Performs integrations over subtracted peaks
integquant | findintegparams | integpeaks | Augerfile, Elements, AESquantparams, Shifts |  |  |  | halfwidths, peakcenters | Grab integration width and expected counts peak position (also incorporates shift from deriv method) halfwidths=[] peakcenters=[] Energyvals = Augerfile.Energy # for finding index #s corresponding to energy vals for this spectrum for i, elem in enumerate(Elements): thiselem=AESquantparams[AESquantparams['element']==elem] if len(thiselem)!=1: print('WARNING ... AES quant parameters not found for ', elem)
integquant | calcadjcounts | quant_main | integquantlog, AESquantparams, sig=2, kerrors=True |  |  |  | df | For each elemental peak in interquantlog, calculate or recalcuated adjusted counts using k-factor2 and mass result stored in adjcnts column and used for subsequent compositional determinations can change AESquantresults and recalc at any time; sig (aka 2 sigma errors) is default setting kerrors -- include error associated with kfactor (along with Poisson errors) if 'Adjcnts' not in df: df['Adjcnts']=0.0 # new column for adjusted amplitude (if not already present) if 'Erradjcnts' not in df: df['Erradjcnts']=0.0 # new column for associated error |  | For each elemental peak in list, calculate adjusted counts using k-factor2 and mass
integquant | calccomp | quant_main | df, Integquantlog, elemlist, AESquantparams |  | parseelemlist,parseelem2,getelemthresholds,cloneparamrows |  | df | Calculate elemental composition of given files based on input element list threshold - ratio of element peak to noise peak (0 means no threshold applied load element-dependent significance level from AESquantparams thresholds=getelemthresholds(elemlist, AESquantparams) # Get list of sigma levels for significance/inclusion # thresholds for both single and multipeak elemlist, multipeaklist = parseelemlist(elemlist) # list of single peak elements and dict with multipeaks # check if any of the single peaks are secondary (i.e. quant on Fe2 not main Fe) elemlist, multipeaklist= parseelem2(elemlist, multipeaklist) |  | at.% calculation given list of elements (includes calculated error)
integquant | getelemthresholds | calccomp | elemlist, AESquantparams |  |  |  | dictionary with element and associated significance level''' | get element-dependent significance thresholds for each peak from AESquantparams return dictionary with element and associated significance level thresholds={} # returns list of element dependent thresholds for this element set for i, elem in enumerate(elemlist): # find row in AESquantparams for this element thiselemdata=AESquantparams[(AESquantparams['element']==elem)] thiselemdata=thiselemdata.squeeze() # series with this elements params thresholds.update({elem:thiselemdata.siglevel}) |  | loads element-dependent peak significance thresholds from AESquantparams
integquant | parseelemlist | calccomp | elemlist |  |  |  | newelemlist, Multielem | Find and separate multielement peaks to be averaged (e.g. Fe2 & Fe) from longer string of element peaks e.g. splits "Mg Fe Fe2 Si" into "Mg Si" and "{Fe,[Fe,Fe2]} dictionary # Strip numbers from strings within list newlist=[re.match('\D+',i).group(0) for i in elemlist] # find duplicated peaks (multiple peaks per element) Multielem = defaultdict(list) for i, item in enumerate(newlist): |  | identical to those in smdifquant
integquant | parseelem2 | calccomp | elemlist, Multielem |  |  |  | newelemlist, Multielem # | After multielement peaks removed, also move secondary peaks used as primary to dict (handle separately) e.g. splits "S Mg Fe2 Si" into "S Mg Si" and "{Fe,[Fe2]} dictionary; same structure and df output for averaging of Fe, Fe2, or straight Fe2 or straight Fe # starting elemlist will only have single entries (i.e Ti2 but not Ti & Ti2) newelemlist=[] for i, elem in enumerate(elemlist): if re.search(r'\d',elem): # has number match=re.search(r'\d',elem)
integquant | cloneparamrows | calccomp | df |  | calccomp |  | df | Make param log entry for for each areanum - used by calccomposition to correctly process spe files with multiple spatial areas passed df is usually list of spe files this solves problem that AugerParamLog only has one entry (despite possibly having multiple distinct areas with different spectra df['Areanumber']=1 # set existing entries as area 1 mycols=df.dtypes.index newrows=pd.DataFrame(columns=mycols) # blank df for new entries for index, row in df.iterrows(): numareas=int(df.loc[index]['Areas']) |  | Quick fix to handle spe files with multiple areas… just make separate entry in spelist before start
integquant | smooth7cnts | fitbackgrounds | Augerfile, areanum, evbreaks | [6 empty] | smoothing (7 pts adjacent using Multipak algorithm and evbreaks)
integquant | compareavg_subs |  | Integcomp, Integcompsubs |  |  |  | a subset of compositional comparison | Compare compositions for integral method on same samples derived from avg-combined files named 173175 and the sub-spe files 173,174,175, single line for each combofiles=Integcomp[Integcomp['Filenumber']>3000] # this is core of returned df tempcols=np.ndarray.tolist(combofiles.columns.unique()) elemlist=[col for col in tempcols if '%' in col] elemlist=[col for col in tempcols if '%' in col and 'err' not in col] elemlist=[el.replace('%','') for el in elemlist] # regenerate element list # make merge1, merge2 and merge3 cols for pd.merge |  | compares compositions (either smdiff or integ) between combine-averaged and separate sub files)
Auger_import | movecombinedspe |  | combinedfilelog(df), AugerParamlog | [6 empty] | if spectrum is average-combined, move these subfiles to 'sub' directory and create new associated AugerParamLog... get file numbers from combinelist
Auger_import | movespes | combinespelist | filelist, AugerParamlog | [6 empty] | same function but for combinespelist (manual combination version)
Auger_import | avglogentry | autocombinespe, combinespelist, combinespeloop | logmatches |  |  |  | avgentry # pandas series with all params and of correct dimension for append to main df log | Create a logbook entry for a combine-averaged spectrum numfiles=len(logmatches) # number of combined files firststr=str(logmatches.iloc[0][0]) # averaged file name is numbered "firstnum"lastnum" laststr=str(logmatches.iloc[len(logmatches)-1][0]) avgnum=int(firststr+laststr) avgentry=logmatches.iloc[[0]] # avg entry has same values as first file for cols 1,3-15, 17-24 avgentry=avgentry.squeeze() # convert to series (avoids warnings regarding changing a slice of the df) # now change the small number of header params that will differ between single spe and averaged one |  | create an AugerParamlog entry for a combine-averaged spectrum
Auger_import | checklogfile |  | filelist, Augerlogbook |  |  |  |  | Checks the user Auger logbook Excel for consistency with the actual data file list from directory prints out filenumbers that have a problem to console #TODO fix this so it works with new blanklog containing filenames (due to degenerate filenumber problem) spe=[] # list of filenumbers of spe files in directory semmap=[] # list of filenumbers for sem or map files in directory for i, name in enumerate(filelist): # deals with 3 cases (spe, sem or map) match=re.search(r'\d+.spe',name) |  | Checks the user Auger logbook Excel for consistency with the actual data file list from directory
Auger_import | combinespeloop |  | combinelist, AugerParamLog, movefiles=False |  | avglogentry,movecombinedspe,avgcombinespe |  | new line for AugerFileParams logbook | Combine files for index, row in combinelist.iterrows(): # large loop through each match firstfile=int(combinelist.loc[index]['Filenumber']) # iloc grabs correct row from list of matches lastfile=int(combinelist.loc[index]['Lastnumber']) # look up filenames and # of areas associated with the above file range (all should have same # of area) logmatches=AugerParamLog[(AugerParamLog['Filenumber']>=firstfile) & (AugerParamLog['Filenumber']<=lastfile)] # Start of function combinespectra(logmatches) ... return new line for AugerFileParams logbook # Check if combine-averaged csv file has already been created for this set of spe files |  | Loop that takes consecutive spe files (chosen by Augerlogbook) and runs average-combine on sets of files\
Auger_import | combinespelist |  | filelist, AugerParamLog, csvname='', movefiles=False |  | avglogentry,movespes,avgcombinespe |  | AugerParamLog | Manual method of combining files via averaging; Make filelist based on naming rules or however match=AugerParamLog.Filename.isin(filelist) # passing entire AugerParamlog so knock out those not in combine filelist logmatches=AugerParamLog.loc[match] # selects above list of files # Find first and last in filenumber range (files can be in random order) logmatches=logmatches.sort_values(['Filenumber']) # sort by filenumber # firstfile=logmatches.Filenumber.min() # lastfile=logmatches.Filenumber.max() if csvname=='': # name automatically based on first-last filenumber |  | combine via averaging all files in a given list
Auger_import | combinespes | main | [7 empty] | Finds sets of files for combination
Auger_import | autocombinespe |  | AugerParamLog |  | avglogentry,avgcombinespe |  | AugerParamLog | automatic method of finding combinable measurements (same X,Y, areas, basename) and combine all areas separately via averaging naming convention of basename.1.csv, basename.2.csv, basename.3.csv etc to basename.13.csv if 'Basename' not in AugerParamLog: # in case basename not already added AugerParamLog['Basename']='' for index, row in AugerParamLog.iterrows(): fname=AugerParamLog.loc[index]['Filename']
Auger_import | avgcombinespe | autocombinespe, combinespelist, combinespeloop | logmatches, newcsvname |  | makesavgol,makesavgolbreak,smoothdiffS7D7,smoothdiffS7D7b |  | # if base file not found, end it | Takes consecutive spe files (chosen by Augerlogbook) and average-combines them into single new average dataset pass name to be used for new avg-combined file firstfile=int(logmatches.iloc[0]['Filenumber']) lastfile=int(logmatches.iloc[len(logmatches)-1]['Filenumber']) numfiles=lastfile-firstfile+1 # Test to ensure that x, y,and # areas are same for files to be combined xval=logmatches.iloc[0]['X'] yval=logmatches.iloc[0]['Y'] |  | Does combination through average of single set of files (also makes new S7D7 and savgol files)
Auger_import | getparamfromlog | [8 empty] | Search through logbook and return 1) project name, 2) sample name 3) nA 4) comments from df (which is Augerlogbook)
Auger_import | smoothdiffS7D7 | [8 empty] | Create smooth differentiated column from counts using S7D7 PHI algorithm (Multipak tables A-5 and A-1
Auger_import | savgol | [8 empty] | Create 2nd deriv, 2nd order polyfit over 11 points and add as column (used for finding boundaries of regions to fit)
Auger_import | makesurvey | ProcessAuger | [7 empty] | function to extract binary spe survey data to dataframe for csv export
Auger_import | makemultiplex | [8 empty] | function to create a csv file from multiplex SPE file
Auger_import | makejpg | processSEM | [7 empty] | Extract raw binary SEM image from .sem file, convert to jpg and saves with scaled dpi
Auger_import | makeannotatedjpg | [8 empty] | finds spe and prior sem images for spatial area annotated jpgs
Auger_import | annotateone |  | jpgfname, spename, SpatialAreas |  | annotatejpg,SpatialAreas |  |  | Annotate a selected jpg image with spatial areas corresponding to selected spe file (pass both by filename) # now get spatial areas info from spatial areas log spename=spename.replace('.csv','.spe') # .spe extension used in spatialareas log areamatch=SpatialAreas[SpatialAreas['Filename']==spename] # Drop areanum duplicates (sometimes duplicate entries from rerun of import scripts) areamatch=areamatch.drop_duplicates(subset=['Areanumber'])
Auger_import | annotatejpg | annotateone, makeannotatedjpg | jpgimage, areamatch |  |  |  |  | Pass Auger sem image and info about spatial areas and create annotated jpg with superimposed ROIs draw=ImageDraw.Draw(jpgimage) # single draw instance to label above image ttfont=ImageFont.truetype('arial.ttf', size=20) for index, row in areamatch.iterrows(): areanum=int(areamatch.loc[index]['Areanumber']) x1=areamatch.loc[index]['X1'] y1=areamatch.loc[index]['Y1'] x2=areamatch.loc[index]['X2'] |  | adds spatial area annotations to given image and saves as jpg
Auger_import | makemaps |  | pass binary data string, base name for jpgs, resolution, field of view and list of mapped elements | [6 empty] | Extracts raw image data and creates jpg for each mapped element
Auger_import | SpectralRegions | [8 empty] | Subroutine to pull multiplex spe params (e.g. elements and spectral regions), calculate acquisition time for multiplex .spe file
Auger_import | SpectralMapRegions | [8 empty] | Subroutine to pull mapping params and calculate acquisition time for .map file; all saved in param log csv
Auger_import | SpatialAreas | [8 empty] | SpatialAreas outputs the areas defined in Auger and calculates/returns number of areas and total area
Auger_import | processAuger | [8 empty] | pulls 20 important parameters from spe file header, calls makesurvey or makemultiplex functions to convert raw data
Auger_import | processSEM | [8 empty] | pulls header info parameters from .sem image files and saves in master param log; calls makejpg
Auger_import | processMap | [8 empty] | pulls header info parameters from Auger .map files and saves in master param log; calls makemaps
Auger_import | Augerbatchimport | main | filelist, Augerlogbook |  | getparamfromlog,SpatialAreas,processAuger,processSEM,processMap |  | AugerParamLog | Main import processing loop for spe, map and sem images if not os.path.exists('sub'): # create subdirectory for raw spe/sem/map files & csv sub-files (when combined) os.makedirs('sub') # the process functions will move raw files here # Set up log file for multiplex spectral regions if not os.path.isfile('multiplexspectralregionslog.csv'): SpectralRegs=pd.DataFrame(columns=['Filenumber','Filename','Numcycles','Timestep','Element','Sweeps','Evstep','Lower','Upper','Time']) with open('multiplexspectralregionslog.csv','w') as filedata: SpectralRegs.to_csv(filedata, header=True, index=False) |  | Clean up the loop from main
Auger_import | sortmultiplex | makemultiplex | [7 empty] | sorts multiplex, keeps best count values from duplicates and recomputes evbreaks (index #) after sort/ elimination)
Auger_import | keepbestvals | sortmultiplex | [7 empty] | Looks at spectral regions definitions and keeps best counts value if duplicated
smdifquant | calccomposition | main | df, Smdifpeakslog, elemlist, threshold=0.0 |  | organizecolumns,parseelemlist,parseelem2,thresholdtest,cloneparamrows,calcamplitude |  | df | Calculate elemental composition of given subset of files (generally an spelist) based on input element list can also pass a later list of files (i.e. outliers) that are already split by filenumber/areanumber returns raw amplitudes, adjusted amplitudes and at % calculations for each in element list (above threshold) should elements be eliminated if amplitude is less than 2x that of noise background? threshold - ratio of element peak to noise peak (0 means no threshold applied elemlist, multipeaklist = parseelemlist(elemlist) # list of single peak elements and dict with multipeaks # check if any of the single peaks are secondary (i.e. quant on Fe2 not main Fe) |  | at.% calculation given list of elements
smdifquant | calcamplitude | calccomposition | df, AESquantparams |  |  |  | df | For each elemental peak in smdifpeaks log, calculate basis with k-factor and mass result stored in adjamp column and used for subsequent compositional determinations can change AESquantresults and recalc at any time if 'Adjamp' not in df: df['Adjamp']=0.0 # new column for adjusted amplitude (if not already present) # what's the fastest way to do this? # loop for each element, mask df, get appropriate k-factor & mass df=df.reset_index(drop=True) # go ahead and reset index |  | For each elemental peak in smdifpeaks log, calculate basis with k-factor and mass
smdifquant | organizecolumns | calccomposition | df1,mycols |  |  |  | reorganized newdf | Pass df and template (list of desired columns in desired order) and return reorganized newdf cols1=df1.columns.tolist() newdf=df1 # avoids modification of passed df uniquelist=[i for i in cols1 if i not in mycols] for i,colname in enumerate(uniquelist): # remove cols from df1 that are absent from df2 # newdf.drop(colname, axis=1, inplace=True) # this modifies both passed and returned dfs newdf=newdf.drop(colname, axis=1)
smdifquant | thresholdtest | calccomposition | df, threshold |  |  |  | df if ratio above threshold, | Pass df holding smdifpeak info on single peak; return df if ratio above threshold, return empty frame if below if below threshold, set adjamp to zero (but leave raw amplitude at same value # avgbackamplitude is average measure of noise level in smoothed-differentiated spectrum avgbackamp=(df.iloc[0]['Lowbackamplitude']+df.iloc[0]['Highbackamplitude'])/2 if df.iloc[0]['Amplitude']<threshold*avgbackamp: df=df.set_value(df.index[0],'Adjamp', 0) # zero out adjusted amplitude return df else:
smdifquant | parseelemlist | calccomposition | elemlist |  |  |  | newelemlist, Multielem | Find and separate multielement peaks to be averaged (e.g. Fe2 & Fe) from longer string of element peaks e.g. splits "Mg Fe Fe2 Si" into "Mg Si" and "{Fe,[Fe,Fe2]} dictionary # Strip numbers from strings within list newlist=[re.match('\D+',i).group(0) for i in elemlist] # find duplicated peaks (multiple peaks per element) Multielem = defaultdict(list) for i, item in enumerate(newlist): |  | dealing with element list (esp. multiple lines for same element or ternaries)
smdifquant | parseelem2 | calccomposition | elemlist, Multielem |  |  |  | newelemlist, Multielem # | After multielement peaks removed, also move secondary peaks used as primary to dict (handle separately) e.g. splits "S Mg Fe2 Si" into "S Mg Si" and "{Fe,[Fe2]} dictionary; same structure and df output for averaging of Fe, Fe2, or straight Fe2 or straight Fe newelemlist=[] for i, elem in enumerate(elemlist): if re.search(r'\d',elem): # has number match=re.search(r'\d',elem)
smdifquant | findindices | smdifquant, smdifbatchquant | Elements, Backregs, logmatch, AESquantparams |  | smdifquant |  | Energyvals, Backregdata # | takes element strings and energies of background regs and returns tuple for each elem symbol containing all params necessary to find each Auger peak from given spe file also returns 2-tuple with energy val and index of chosen background regions # load standard Auger values from AESquantparams (csv encoding must be utf-8) AugerFileName=logmatch.Filename # full filename w/o path stored in 3rd col # get energy values Energyvals = [] #empty list for energy values values = csv.reader(open(AugerFileName, 'r')) |  | takes element strings and energies of background regs and returns tuple for each elem symbol containing all params necessary to find each Auger peak from given spe file
smdifquant | findnegpeak | smdifquant, smdifbackground | peakregion |  |  |  | negval, negindex | finds negative value and peak position in smooth-diff spectra around selected element negval=peakregion.min() # min value from series slice around this peak negindex=peakregion.idxmin() # gives index of minimum from series return negval, negindex def findpospeak(peakregion): # pass slice of pandas Series within searchwidth of ideal peak finds positive value and peak position in smooth-diff spectra around selected element; pospeak to left in energy from negpeak in S7D7 smoothdiff spectrum posval=peakregion.max() # min value from series slice around this peak
smdifquant | findpospeak | smdifquant, smdifbackground | peakregion |  |  |  | posval, posindex | finds positive value and peak position in smooth-diff spectra around selected element; pospeak to left in energy from negpeak in S7D7 smoothdiff spectrum posval=peakregion.max() # min value from series slice around this peak posindex=peakregion.idxmax() # gives index of minimum from series (not energy value but index from original dataset) return posval, posindex def checkpeakboundaries(lower,upper, index, evbreaks): modifies boundaries of background peak search regions if these cross and eV break in multiplex scan this typically shouldn't occur unless you make energy regions too small in multiplex scans
smdifquant | addbacktopeaks | smdifbatchquant | Smdifpeaks, Smdifback |  |  |  | Smdifpeaks | For each elemental peak add the measure of background noise in the closest regions (from correct spatial area) for i in range(0,len(Smdifpeaks)): areanum=Smdifpeaks.Areanumber[i] #multiple spatial areas from same spe are passed together thisarea=Smdifback[(Smdifback['Areanumber']==areanum)] # Slice to select only background fits for correct area number peakval=Smdifpeaks.Peakindex[i] thisarea=thisarea.reset_index() # index must be reset for below argsort to work (avoids nan return) matches=thisarea.ix[(thisarea['Peakindex']-peakval).abs().argsort()[:2]] # then find two closest values to correct peakindex |  | For each elemental peak add the measure of background noise in the closest regions (from correct spatial area)
smdifquant | checkpeakboundaries | smdifbackground | lower,upper, index, evbreaks |  |  |  | lower, upper | modifies boundaries of background peak search regions if these cross and eV break in multiplex scan this typically shouldn't occur unless you make energy regions too small in multiplex scans ends=[i for i in evbreaks if i > lower-3 and i < upper+3] # must be min 3 channels from endpoint (since S7D7 set to zero in this range) if ends: # list is not empty (aka selected background region crosses an ev break) if ends[0]>=index: # modify upper bound upper=ends[0]-3 |  | modifies boundaries of background peak search regions if these cross and eV break in multiplex scan
smdifquant | cloneparamrows | calccomposition | df |  | calccomposition |  | df | Make param log entry for for each areanum - used by calccomposition to correctly process spe files with multiple spatial areas passed df is usually list of spe files this solves problem that AugerParamLog only has one entry (despite possibly having multiple distinct areas with different spectra df['Areanumber']=1 # set existing entries as area 1 mycols=df.dtypes.index newrows=pd.DataFrame(columns=mycols) # blank df for new entries for index, row in df.iterrows(): numareas=int(df.loc[index]['Areas']) |  | makes log entry for each areanumber in paramlog (used for compositional calcs for separate spatial areas
smdifquant | getbestduplicate |  | df, Smdifpeakslog, elemlist |  |  |  | df | Used to choose a single best spectrum for each sample based on elemlist basis (drop inferior ones based on value in sortparam) Pass df and column name for dupl. search and params sort param for finding best value # choose best on spectral area #1 and ignore others for now #TODO modify to perform separate AES basis calculation for multiple areas df=df.reset_index(drop=True) df['AESbasis']=0.0 # for each spectrum in spelist, calculate underlying AES basis from Smdifpeakslog (filenumber match) |  | calculate AESbasis (given element list), sort and drop duplicates (from Augerparams subset)
AESutils | outputduplicates |  | df, colname |  |  |  |  | Pass df and column name to search for duplicates (as string); outputs duplicates to console df=df.reset_index(drop=True) tempdf=df.duplicated([colname], keep=False) # marks all duplicates as true (even first last) # get list of duplicated filenumber for i in range(0,len(tempdf)): if tempdf[i]==True: print('Duplicated spectrum for sample: ', df.iloc[i]['Sample']) return
smdifquant | compareavg_subs |  | Smdifcomp, Smdifcompsubs |  |  |  | a subset of compositional comparison | Compare compositions on same samples derived from avg-combined files named 173175 and the sub-spe files 173,174,175, single line for each combofiles=Smdifcomp[Smdifcomp['Filenumber']>3000] # this is core of returned df tempcols=np.ndarray.tolist(combofiles.columns.unique()) elemlist=[col for col in tempcols if '%' in col] elemlist=[el.replace('%','') for el in elemlist] # make merge1, merge2 and merge3 cols for pd.merge # Create copies of Smdifcompsubs and rename Filenumber to merge1,2,3 |  | compares compositions (either smdiff or integ) between combine-averaged and separate sub files)
smdifquant | getpeakstats |  | df, Elements |  |  |  | peakstats | Returns summary statistics for peak amplitude and shifts from smooth-diff quant method mycols=['Element','Count','Ampmean','Ampstdev','Ampmin','Ampmax','Shiftmean','Shiftstdev','Shiftmin','Shiftmax'] peakstats=pd.DataFrame(columns=mycols) for i, elem in enumerate(Elements): thisrow=pd.Series(index=mycols) thisel=df[df['PeakID']==elem] if len(thisel)>0: # it's possible that element wasn't included in smdiffquant run thisrow.Element=elem |  | Returns amplitude & shift averages for some list of elements
smdifquant | smdifquant | findindices, smdifbatchquant | logmatch, Elemdata |  | findindices,findnegpeak,findpospeak |  | int and position (via shift from ideal) | Quant routine for finding peaks in smooth-differentiated spectrum (opens source spectrum as Augerfile, finds all peaks using Elemdata, returns dataframe with position/amplitude/etc; desired elements out of data range are skipped (in prior findindices function) peakenergy- actual negpeak location in eV, shift- deviation from ideal value, (negint/posint/amplitude)- all related to magnitude of smooth-diff peak, peakwidth- width of peak as measured by derivative method (i.e. negative peak at left edge and pospeak at right; 5 column with *back* are measures of noise amplitude in differentiated spectrum #create Smdifpeaks dataframe for temp storage of each peak's params AugerFileName=logmatch.Filename # get Auger filename from Series... should be .csv file in current directory numareas=int(logmatch.Areas) # must be integer for looping |  | Quant routine for finding peaks in smooth-differentiated spectrum (opens source spectrum as Augerfile, finds all peaks using Elemdata,
smdifquant | smdifbackground | smdifbatchquant | logmatch,Backregdata |  | findnegpeak,findpospeak,checkpeakboundaries |  | int and position (via shift from ideal) | Searches peak-free regions in background of smooth-diff spectrum and returns the largest negative peak with 10 channels of energy regions chosen in Backregs returns energy value (in eV not index #) and associated peak-to-peak amplitude of background fluctuations since just returning magnitude of noise fluctuation, pospeak is not required to be lower energy than negpeak searchwidth=6 # default of +/-6 channels for background peak search is similar to most elemental peaks pospeakwidth=12 # search for associated positive "peak" with 15 channels/eV to left of negative peak AugerFileName=logmatch.Filename # get Auger filename from Series... should be .csv file in current directory numareas=int(logmatch.Areas) # number of spatial areas within spe... must be integer for looping
smdifquant | smdifbatchquant |  | spelist, Elements, AESquantparams, reprocess=False, Backregs=[121,200,405,800,1475,1850] |  | findindices,addbacktopeaks,smdifquant,smdifbackground |  | Smdifpeakslog # not autosaved! | Batch quantification of all peaks in Elements list and noise amplitude at all chosen background regions (Backregs) returns df with peak positions, amplitudes, width, energy shift, etc. # Backregs was an attempt to monitor signal to noise in differentiated spectra but it's not very good # often insufficient energy range to do this well in multiplex spectra # should replace this with Ogliore/Gazda 2015 error estimation methods Elemdata=[] # list of tuples with elem symbol and other params needed to find smoothed-differentiated peak in given spectrum Backregdata=[] # list of energy value for background peak checks and associated index value (for easier slicing) |  | calls smdifquant, smdifbackground, addbacktopeaks, findindices; returns smdif peaks for all spectra in filtered dataframe
quantmap | QMarray_setup | QM main |  |  | makesquarearray | abort,create | pixarray | Interactive set up of pixarray and autotool file for quantmap if using new params Params: array size (typically max 100x100 or Autotool will crash) margin - percent of image field at margins (not scanned) kwargs: image registration
quantmap | makesquarearray | QMarray_setup | margin, arraysize, basename | regint,writeAutotool,writeareas | writeautotool,makeautotool,writeAESareas |  | square, atframe | Divide up 512x512 pixels in map into n areas and format correctly for spatial areas phi files (which are loaded using Autotool loops into PHI Smartsoft); margin is % of field to skip mapping if desired pix=512 width=(pix*(1-margin)/arraysize) # exact width (height is same) startxy=int(pix*margin/2) # split margin between top/bottom, left/right mycols=['Xindex','Yindex','Areanumber','PHIname','Subnumber','X1','Y1','X2','Y2', 'Width', 'Height'] dim=arraysize**2 square=pd.DataFrame(index=np.arange(0,dim), columns=mycols) |  | Define quant map array dimension, margin, assign filesnames
quantmap | QMmultiplex_setup | QM main | Elements, AESquantparams |  | convert_tklist,getQMparams,makemultdf,writemultiplex | initvals,updatevals,abort,plot |  | Interactive set up parameters for quantmap max of 20 spectral regions for multiplex means limit of only 6 elems Saves custom QMmultiplex.phi file (normally needed) (incl low and high energy regions for each) Params: array size (typically max 100x100 or Autotool will crash) dwelltime - in ms multiplex filename -- contains multiplex scan ranges (can directly alter these files) margin - percent of image field at margins (not scanned)
quantmap | getQMparams | multi_shift_setup, QMmultiplex_setup | Elements, AESquantparams, shift |  |  |  | elemparams | retrieve direct peak location, low & high energy regions (background below and above peak), and default # of sweeps for passed elements elemparams=[] for i, elem in enumerate(Elements): match=AESquantparams[AESquantparams['element']==elem] if len(match)==1: lowback=round(match.iloc[0]['QMlow']+shift,1) hiback=round(match.iloc[0]['QMhigh']+shift,1)
quantmap | writemultiplex | multi_shift_setup, QMmultiplex_setup, makemultdf | multdf, phiname, dwell, numcycles, **mkwargs | regmode,reginterval | [5 empty] | from AESquantparams set up optimized multiplex conditions file
quantmap | writemultiplexes | QMmultiplex_setup | [7 empty] | for charging/shifting, write series of multiplex files w/ increasing peak shift
quantmap | writeAESareas | multi_shift_setup, makesquarearray, reorder_spatial_array | df, PHIname |  |  |  |  | Write of stage positions to .phi spatial areas file in chunks of 25 positions Some weird encoding so just read and modify existing pff file datastr='' datastr+='[SpatialArea]\nArea Count=' datastr+=str(len(df)) # number of areas datastr+='\n' for i in range(0,len(df)): datastr+='Area Active ' |  | .phi files for loading spatial areas
quantmap | makeautotool | multi_shift_setup, makesquarearray | filelist, multacq='C:\\Temp\\QM_multiplex.phi' | imageregint |  |  | atframe | Generates df with Autotool commands and data values (for generating Autotool phi file) df=pd.read_csv('C:\\Users\\tkc\\Documents\\Python_Scripts\\Utilities\\QM_autotool.csv') atframe=df.loc[0:2] # filelist.sort(reverse=True) # sort just screws things up mycolumns=['Command','Data'] for i, file in enumerate(filelist): newrow=pd.DataFrame(index=np.arange(0,2), columns=mycolumns) newrow=newrow.set_value(0,'Command','AES:Load Area Define Setting...')
quantmap | writeautotool | multi_shift_setup, makesquarearray | df, autotoolname |  |  |  |  | Write of standard autotool loop for quantmap weird encoding so just read and modify existing pff file |  | Create autotool file specific to this particular set of areas and write to file
quantmap | makeQMlogentry | combineQMdata | spefiles, QMname |  |  |  | newentry # returned as single rowed df | Make entry for Augerparam log for quant map dataset newentry=spefiles.iloc[[0]] # first row as template newentry=newentry.reset_index(drop=True) # index carries no important info here # change filename, areas, acqtime, scanarea to reflect entire quant map conditions newentry=newentry.set_value(0,'Areas',spefiles.Areas.sum()) # sum areas from each sub-spe file newentry=newentry.set_value(0,'Acqtime',spefiles.Acqtime.sum()) newentry=newentry.set_value(0,'Scanarea',spefiles.Scanarea.sum()) newentry=newentry.set_value(0,'Filename',QMname) # use new pass filename |  | log entry for AugerParamLog for combined quantmap file (all spatial areas)
quantmap | combineQMdata | QM main | df,fnums,QMname='' |  | makeQMlogentry |  |  | Pass sequences of spe files each containing 20 spatial areas, combine into single csv file; using autonumbering convention w/ unique filenumbers startfile=int(fnums.split('-')[0]) endfile=int(fnums.split('-')[1]) filenums=list(range(startfile,endfile+1)) spefiles=df[df['Filenumber'].isin(filenums)] spefiles=spefiles.sort_values(['Filenumber']) if QMname=='': # use default naming scheme if no new filename is passed |  | pulls all spatial areas and stores in single csv file | Move subcsvs and associated log entries to sub folder
quantmap | reportpixels | pixelreport_tk | plottype, myelemdata, specimage, pixlist, energy, backarray, |  | smoothdiffS7D7,getelemenergy |  |  | Generate PDF plot report of underlying data from a subset of pixels Elemdata already has index and ev ranges for each element TODO figure out how to use backarray, shiftdict, sumdict
quantmap | replacemaskpix |  | arr1, arr2 |  |  |  | newarr | Replace masked regions of arr1 with values from arr2 (usually median filtered) newarr=np.empty([arr1.shape[0],arr1.shape[1]]) for X in range(0,arr1.shape[0]): for Y in range(0,arr1.shape[1]): if np.ma.is_masked(arr1[X,Y]): newarr[X,Y]=arr2[X,Y] else: newarr[X,Y]=arr1[X,Y]
quantmap | replacemaskpix2 |  | arr1, arr2, arr3 |  |  |  | newarr | Use arr1 unless masked in arr3 (then use arr2 value; normally median, uniform or other filter newarr=np.empty([arr1.shape[0],arr1.shape[1]]) for X in range(0,arr1.shape[0]): for Y in range(0,arr1.shape[1]): if np.ma.is_masked(arr3[X,Y]): newarr[X,Y]=arr2[X,Y] else:
quantmap | reorder_spatial_array |  | QMpixarray, chargemap, basename |  | writeAESareas |  | QMpixarray | using spatial map of charging (modified chargemap 2D np array) assign a charging value to each pixel in mapped array, reorder by charging magnitude, and create corresponding spatial area files, then save to pixarray for index, row in QMpixarray.iterrows(): QMpixarray=QMpixarray.set_value(index,'Shift',chargemap[row.Xindex, row.Yindex]) QMpixarray=QMpixarray.sort_values(['Shift','Yindex','Xindex']) # reset index
quantmap | renumberQMareas | QM main | df, fnums,QMname='' |  |  |  | df | Duplicate spatial area entries in spatial areas to match those in renumbered QM file (i.e. area 1 of arrayfile2 is area 21 startfile=int(fnums.split('-')[0]) endfile=int(fnums.split('-')[1]) filenumber=int(str(startfile)+str(endfile)) filenums=list(range(startfile,endfile+1)) areas=df[df['Filenumber'].isin(filenums)] areas=areas.sort_values(['Filenumber','Areanumber']) if QMname=='': # use default naming scheme if no new filename is passed |  | Makes spatial areas entry for combined QM
quantmap | showsubareas | QM main | df, SpatialAreas, image='tr184.147.jpg', savestr='Mgrichregion', label=True |  | annotatejpg |  |  | After combination of QM data, find and show selected set of areanumbers (i.e Mgrich or whatever) pass df subset based on some peak criteria # Put in a check to ensure this is a single file number/ single image filenum=int(df.iloc[0]['Filenumber']) filematch=SpatialAreas[SpatialAreas['Filenumber']==filenum] areas=np.ndarray.tolist(df.Areanumber.unique()) areas=[int(i) for i in areas] areamatches=filematch[filematch['Areanumber'].isin(areas)] |  | Outputs image with selected subareas (areas selected by df based on compositions, such as Mgrich or whatever)
quantmap | annotatejpg | showsubareas | jpgimage, areamatch, savename, label=True |  |  |  |  | Pass Auger sem image and info about spatial areas and create annotated jpg with superimposed ROIs draw=ImageDraw.Draw(jpgimage) # single draw instance to label above image ttfont=ImageFont.truetype('arial.ttf', size=20) for index, row in areamatch.iterrows(): areanum=int(areamatch.loc[index]['Areanumber']) x1=areamatch.loc[index]['X1'] y1=areamatch.loc[index]['Y1'] x2=areamatch.loc[index]['X2']
quantmap | showQMregion | QM main | jpgimage, margin, AugerParamLog |  |  |  |  | Indicate mapped region for quant map on jpg overlay, get mag from paramlog and then scale for 1cm = 1 micron; direct save of "_map.jpg" with proper scaling
quantmap | createampmaps | QM main | filenum, Elements, Smdifpeakslog, SpatialAreas |  |  |  | elementmaps # list of elem, array for all passed elements | Create elemental amplitude maps from QM elemental amplitudes (smooth-diff amplitude for each line in Smdifpeakslog and area information in spatialareas elementmaps=[] # list of 512x512 arrays (oversampling actual 10x10 or 20x20 but more convenient) thisfiledat=Smdifpeakslog[Smdifpeakslog['Filenumber']==filenum] thisfileareas=SpatialAreas[SpatialAreas['Filenumber']==filenum] for i, elem in enumerate(Elements): thiselemdat=thisfiledat[thisfiledat['PeakID']==elem] if len(thiselemdat)==0: # check to ensure this element is present in quant map (multi-area multiplex) |  | create amplitude maps from QM files
quantmap | plotmaps | QM main | elementmaps, Elements, savename='' |  |  |  |  | Plot arbitrary number of element maps (passed as list of numpy arrays) into single figure # determine which of the elementmaps will be plotted nummaps=0 for i, [elem, thismap] in enumerate(elementmaps): if elem in Elements: nummaps+=1 # Determine shape of figure if nummaps<=3: |  | Plots sets of numpy arrays (element maps)
quantmap | overlayimage | QM main | elementmaps, elem, imagefile, savename='', alphaval=0.3 |  |  |  |  | Find given element's quantmap (among list of created elementmaps) and overlay on pre-QM SE image, variable alpha value and optional savename try: image=Image.open(imagefile) except: print ("Can't find ", imagefile) return plt.imshow(image) |  | Takes selected single element compositional map and overlays on SE image
quantmap | getelemdata | QM main | SpectralRegs, AESquantparams | elems - explicit elements list |  |  | Elemdata | Return index ranges for each element's peak, low background, and high background Elemdata contains: 0) elem/peak name 1) indices of peak range (list) 2) indices of low back range (list) 3) indices of high back range (list) 4) energy vals of peak range (list) 5) energy vals of low back range (list) 6) energy vals of high back range (list) 7) energy of ideal peak (float; set to nan if not found) 8) corresponding index of ideal peak (nan if not within data range).. this is possible
quantmap | getspectralregs | showsubareas | QMpixarray |  | get_multiplex_data |  | spectralregs | Retrieve and save multiplex spectral regions from first spe file saves multiplex details from first spe file to disk; returns spectralregs
quantmap | makeQMarray | QM main | QMpixarray, basename |  | get_multiplex_data,getenergyrange |  | specimage, energy | Make 3D numpy array from stack of multiplex spe files (20 areas per file); pixel position obtained from QMpixarray file in final 3D nparray, X, Y are spatial and Z is signal ... electron counts/sec from single multiplex scan
quantmap | get_multiplex_data | makeQMarray | AugerFileName, energy, evbreaks, numareas |  |  |  | multiplex | is sorted by energy list of energy values are passed from SpectralRegions function (energy x values are not continuous for multiplex) bindata is rest of binary after text header extraction evbreaks are index# of boundaries between spectral regions energy is list of ev values and corresponding index within specimage (element in list)
quantmap | getenergyrange | makeQMndarray | Augerfilename |  | smoothdiffS7D7 |  | energy | get xrange for QM multiplex (should be basically identical for all ) if multiplex energy range out of order, then rearranged later
quantmap | loadQMpixarray | QM main |  |  |  |  | QMpixarray | Load of standard files from main Auger data directory
quantmap | plotpixels | plotpix_tk | specimage, energy, pixels, Elements, spectralregs, backarray, shiftdict, sumdict, AESquantparams, **kwargs | showshift,backfit,showcounts,plotelems | findelems,getregboundaries |  | fig | Extract and plot multiplex spectrum from list of pixel coords
quantmap | plotpix_tk | QM main | specimage, energy, Elemdata, backarray, AESquantparams | fileset, areas, xrangestr | plotpixels | abort,plot | fig | tk interface for plotting multiplex data from selected pixels within spectral image
quantmap | uniformfilter | QM main | specimage, size=1 |  |  |  | smoothed spectrum | Uniform filter does adjacent averaging in spatial domain; returns entire spectral image but with adjacent pixel spatial averaging
quantmap | calcbackgrounds | QM main | specimage, energy, Elemdata |  |  |  | backarray | Linear fit of e- background under peak using low and high background regions return as numpy slope[0], intercept[1]
quantmap | showshiftimages | QM main | shiftdict, peakstats |  |  |  | fig | Plot/show all shift images from spectral image in same window peakstats has: elem, avg shift, stdev of shift, min and max shift
quantmap | getelemenergy | reportpixels | plotelems, plotrange, AESquantparams, deriv=False |  |  |  | paired | Pass plotted data range as tuple or string and list of desired elements for plotting, return paired list of elemental and ideal energies only returns element if in range of the given plot; can return either direct peak ideal position or deriv peak ideal position (using deriv switch) negpeak is energy of peak deriv peak whereas direct peak is negpeak- integpeak (expressed as eV shift elemlines=[] # energies list # Return empty list of plotelems only if eV range is passed
quantmap | getregboundaries | plotpixels | spectralregs, Elements |  |  |  | plotranges | Get energy boundaries for each elemental subregion (incl. adjacent low/high background) plotranges=[] for i, elem in enumerate(Elements): matchL=spectralregs[spectralregs['Element']==elem+'L'] matchH=spectralregs[spectralregs['Element']==elem+'H'] if len(matchL)==1 and len(matchH)==1: lower=matchL.iloc[0]['Lower'] upper=matchH.iloc[0]['Upper']
quantmap | integmaps | QM main | specimage, backarray, Elemdata, shiftdict |  |  |  | sumdict | Return integrated counts over each specified peak
quantmap | shiftAESparams | pixelreport_tk | AESquantparams, chargeshift |  |  |  | AESqp | Return copy of AES quant params shifted by uniform amount used by tk on-the-fly plotting AESqp=AESquantparams.copy() # need to alter negpeak, pospeak, QMlow, QMhigh AESqp['negpeak']+=chargeshift AESqp['pospeak']+=chargeshift AESqp['QMlow']+=chargeshift AESqp['QMhigh']+=chargeshift
quantmap | smoothdiffS7D7 | reportpixels, findnegpeaks, getenergyrange | cnts |  |  |  | smoothdiff | Create smooth differentiated column from counts using S7D7 PHI algorithm (Multipak tables A-5 and A-1; passing np array (not pandas series) numpts=len(cnts) endpts=[0,len(cnts)-1] # legacy way of defining endpoints and internal breaks (although those no longer present) smooth=[0]*numpts # empty list of correct length for smoothed data smoothdiff=[0]*numpts # 7 pt diff of above smoothed data # smoothing of endpoints according to Multipak algorithm appendix table A-5 for i in range(0,numpts): # special cases for endpoints (within 3 of an evbreak)
quantmap | showintegimages | QM main | sumdict, Elemdata |  |  |  |  | Plot/show all summed images from spectral image in same window numcols=min(len(Elemdata),2) # 1 or 2 columns numrows=math.ceil(len(Elemdata)/2) fig, axes = plt.subplots(nrows=numrows, ncols=numcols, figsize=(16,9), squeeze=False) # 2 by ? axes array plotnum=0 fig.tight_layout() for key, val in sumdict.items():
quantmap | calcshifts | findnegpeaks | specimage, Elemdata, AESquantparams |  |  |  | shiftdict, peakstats | Diagnostic to look at peak shifts across spatial array; return stats on all peaks over all pixels in spectral image shifts for given element and shift image visualization of peak shifting magnitude
quantmap | findelems | plotpixels | Elements, xrange, AESquantparams |  |  |  | elems | Find list of elements in this plotrange (for lookup of shifts, sums returns element and its ideal direct peak counts position peaks=AESquantparams[AESquantparams['element'].isin(Elements)] # select rows in element list peaks=peaks[(peaks['negpeak']>xrange[0]) & (peaks['negpeak']<xrange[1])] peaks['integpeak']=peaks['integpeak']+peaks['negpeak'] elems=[] for index, row in peaks.iterrows(): elems.append([peaks.loc[index]['element'],peaks.loc[index]['integpeak']])
quantmap | findnegpeaks | QM main | specimage, Elemdata, bigpeak |  | smoothdiffS7D7,calcshifts |  | chargeshift, peakampl | Find charging shift associated w/ some large peak (e.g. O) for all pixels return charge shift and peak amplitude (measure of significance) works if scan regions are sufficiently large to allow smooth-diff peak calcshifts performs similar function on direct peaks (but needs mod for big shifts) thiselem=[i for i in Elemdata if Elemdata[0][0]==bigpeak] [elem, peakind, lowind, highind, peakrange, lowrange, hirange, idealev, idealind, integwidth, chargeshift, peakwidth, searchwidth]=thiselem[0] |  | use O map to determine charging shift across mapped region
quantmap | pixelreport_tk |  | specimage, pixlist, energy, Elemdata, spectralregs, backarray, shiftdict, sumdict, AESquantparams, **kwargs | xrangestr | reportpixels,shiftAESparams | Countopts,Derivopts,Bothopts,abort,plot | kwargs to use for next run | tk interface for args/kwargs of quantmap pixel subset plots filtering by filenumber, filename incorporated in tk interface all args/dataframes must be passed through to plot functions kwargs: fileset, areas, xrangestr -- usually just holds values entered during prior run report will use all areas # first print out existing info in various lines root = tk.Tk() root.title('Generate PDF plot report of quantmap pixels')
quantmap | makemultdf | multi_shift_setup, QMmultiplex_setup | elemparams, peaks, sweeps, widths |  | writemultiplex |  | multdf | Reconstruct dataframe holding altered multiplex scan parameters then feed to writemultiplex mycols=['AtomNum', 'Elem', 'Active', 'Sweeps', 'EVstep', 'Lower', 'Upper', 'Range', 'Lowpeak', 'Peak', 'Hipeak', 'Back1', 'Back2'] multdf=pd.DataFrame(columns=mycols) atnos=[] regs=[] for i, [elem, lowreg, peak, hireg, sweep, atno] in enumerate(elemparams):
quantmap | makepixlist |  | myarr |  |  |  | pixlist | Get list of X,Y pixel coords for masked array pixels pixlist=[] for X in range(0,myarr.shape[0]): for Y in range(0,myarr.shape[1]): if np.ma.is_masked(myarr[X,Y]): pixlist.append([X,Y]) return pixlist
quantmap | plothisto |  | myarr, nbins=15 |  |  |  |  | Make histogram from 2D np values fig, axes = plt.subplots(nrows=1, ncols=1, figsize=(16,9)) hist, bins = np.histogram(myarr, nbins) center=(bins[:-1]+bins[1:])/2 width = 0.7 * (bins[1] - bins[0]) axes.bar(center, hist, align='center', width=width) return
quantmap | plotcharging | QM main | chargemap, peakamplmap |  | findnegpeaks |  |  | Side-by-side plot of charging and associated strength of sm-diff amplitude (from which peak O peak and subsequent charging were determined; call after findnegpeaks fig, axes = plt.subplots(nrows=1, ncols=2, squeeze=False) axes[0,0].set_title("Charging magnitude (eV)", fontsize=12) axes[0,1].set_title("Peak amplitude (derivative)", fontsize=12) axes[0,0].imshow(chargemap) axes[0,1].imshow(peakamplmap) return |  | Show charging map and associated peak amplitudes (for associated strength of signal)
quantmap | linkfilename | QM main | QMpixarray, basename, startnum=101 |  |  |  | QMpixarray | Link multiplex spe data file names to associated pixel in quant map, startnum is filenumber of first spe; also checks data directory for these filenumbers
quantmap | getspectralregs | QM main | Qmpixarray |  |  |  | spectralregs | Retrieve and save multiplex spectral regions from first spe file saves multiplex details from first spe file to disk; returns spectralregs
quantmap | multi_shift_setup |  | Elements, AESquantparams, QMpixarray |  | convert_tklist,getQMparams,writeautotool,makeautotool,writeAESareas,makemultdf,writemultiplex | initvals,updatevals,abort,plot | QMpixarray | Interactive set up parameters for quantmap max of 20 spectral regions for multiplex means limit of only 6 elems Saves custom QMmultiplex.phi file (normally needed) (incl low and high energy regions for each) Params: array size (typically max 100x100 or Autotool will crash) dwelltime - in ms multiplex filename -- contains multiplex scan ranges (can directly alter these files) margin - percent of image field at margins (not scanned)
quantmap | convert_tklist | various |  |  |  |  | newlist | convert list of tk inter variables to normal python list newlist=[] for i, val in enumerate(tklist): newlist.append(val.get()) return newlist def getQMparams(Elements, AESquantparams, shift): retrieve direct peak location, low & high energy regions (background below and |  | converts list of parameters in tk variables to python list (int, str, float or whatever)
quantmap under dev | plotamplmaps | QM main | Elements, elemmapdict
quantmap under dev | ratioimages | QM main
quantmap under dev | createRGBcompimage | [8 empty] | Similar to above but RGB image with three elements
quantmap under dev | selectroi
quantmap under dev | areamapfromROI | [8 empty] | use 512x512 ROI to select subregions for Auger QM… allows mapping of arbitrary regions at 10x10 or 20x20 resolution
AESplot | scattercompplot | get_plotkwargs | comp1, comp2, elemlist, **kwargs | joinlist,basis,thresh | organizecomp,returnoutliers,get_plotkwargs,plot |  | error bar columns | Pass two versions of composition calculation (using different lines or whatever) and compare major elements using scatter graphs .. single point for each sample uses inner merge to select only subset with values from each df elemlist: set of elements to compare in scatter plots (multiple subplots created) Keyword args: joinlist: list of columns to use for merge of two composition files filenumber, areanumber is default and used to compare compositions from exact same spe files but computed via sm-diff or integ methods |  | comparison scatter plot of composition of same sample calculated in two different ways (i.e. SEM composition vs. AES composition, or AES comp with Fe3 vs that with Fe2); also returns merged dataset
AESplot | scatterratioplot |  | comp1, comp2, elem1, elem2, basis=False |  | plot |  | df | Pass two versions of composition calculation (using different lines or whatever) and compare major elements using scatter graphs .. single point for each sample uses inner merge to select only subset with values from each df elemlist=[elem1, elem2] # strip number from peaks like Fe2 if present; columns will be element names (Fe) not peak names (Fe2) if basis==False: # use atomic % (which is the default), not basis for each element elemlist=['%'+s for s in elemlist] |  | compare list of ratios from duplicated measurements
AESplot | scatplot |  | df, xcol='Energy', ycol='Counts', thresh=0.1 |  | returnoutliers,plot |  | outliers | Single plot of explicitly listed cols from composition dataset (after merging and usually on compresult df) fig, axes = plt.subplots(nrows=1, ncols=1) df.plot.scatter(x=xcol,y=ycol, ax=axes) xdata=df[xcol].as_matrix() ydata=df[ycol].as_matrix() slope, intercept, r_value, p_value, std_err = scipy.stats.linregress(xdata, ydata) # set x range for linear plot text1=str(round(slope,3))+' *x +' + str(round(intercept,3)) |  | Single df plot with passed xcol, ycol; returns outliers based on threshold
AESplot | plotternary |  | comp1, ternelems |  | plot |  | # | Take compositional data, compute as 3-tuples and plot on ternary diagram # Calculate ternary quantities for all in duplicates dataframe (allows each axis to be sum of elements) hyphensplit = re.compile('(\+[a-zA-Z]+)').split ternlist=[part for img in ternelems for part in hyphensplit(img) if part] ternlist=[x.replace('+','') for x in ternlist] try: comp1['Tbasis']=comp1[ternlist].sum(axis=1) # sum a list of columns except: |  | just single color, 3 element scatter plot; Ternary=['S','Mg+Ca','Si']
AESplot | returnoutliers | scatplot, scattercompplot | xdata, ydata |  | plot |  | outliers with pvals below specified threshold''' | pass xcol and ycol as lists, makes plot and return outliers with pvals below specified threshold # convert pandas series to lists regression= ols("data ~ x", data=dict(data=ydata, x=xdata)).fit() outliers=regression.outlier_test() # df with cols as student_resid, unadj_p and bonf (bonferroni) colnames=['Resid','Pval','Bonf'] outliers.columns=colnames # rename columns return outliers |  | find outliers from linear fit (often plotted in red)
AESplot | organizecomp | scattercompplot | df |  |  |  | df | Get rid of common duplicated columns removelist=['Projectb','Filenameb','FilePathb','Sampleb','Commentsb'] singleelemlist=['Ca','Mg','Si','S'] for i, val in enumerate(removelist): if val in df: df=df.drop(val,axis=1) for i, val in enumerate(singleelemlist): # don't drop basis as these will differ if comparing smdif and integ compositions if val+'amplb' in df: |  | format of return dfs from compositional comparison plots
AESplot | plothist | main | df, spelist, Elements, col='Amplitude' |  | plot |  |  | Histogram plot of amplitudes (for smdiff quant data) or adjusted counts (for integ data) for all passed elements # Set up figure of proper size filelist=np.ndarray.tolist(spelist.Filename.unique()) df=df[df['Filename'].isin(filelist)] # Keep only file subset in passed list # Set up histogram plots numcols=min(len(Elements),2) # 1 or 2 columns numrows=math.ceil(len(Elements)/2) |  | Histogram plots of element amplitude (or adjusted counts)
AESplot | get_plotkwargs | get_plotkwargs, scattercompplot | mykwargs, elem | erry,log') | get_plotkwargs,scattercompplot,plot |  | kwargdict | Gets subset of keyword arguments that are needed as plot arguments pass elem to construct x and y err col names which may be needed some unpacking of compressed kwargs is needed kwargdict={} # new dict for pandas plot options only if 'errbars' in mykwargs: val=mykwargs.get('errbars') |  | find and set x and y error columns (if requested by passed kwargs)
AESplot | reportderivcnt |  | paramlog, plotelems, AESquantparams, **kwargs | addsmdif,PDFname,bfl,smd | getplotboundaries,getelemenergy,findevbreaks,maketitlestring,plot |  |  | Comparison plots for both derivative and counts itself (don't have to worry about axes w/o indexing) plots selected filenumber + areanumber plots all spe files, associated quant points, and labels selected elemental lines Kwargs: both backfitlog (key bfl) and smdiflogs (key smd) are optional kwarg params pdf rename is also custom (defaults to derivcnts_report_3Mar17) plt.ioff() |  | Side-by-side for each element of smoothdiff peak and integrated/fit peak (mainly for outlier examination); plots individual element ranges
AESplot | reportderivcntall |  | paramlog, plotelems, AESquantparams, Smdifdf=False, backfitdf=False, PDFname='this_report.pdf' |  | getplotboundaries,getelemenergy,findevbreaks,maketitlestring,plot |  |  | Comparison plots for both derivative and counts itself (don't have to worry about axes w/o indexing) plots selected filenumber for all area (looped) plots all spe files, associated quant points, and labels selected elemental lines plt.ioff() with PdfPages(PDFname) as pdf: for index,row in paramlog.iterrows(): AugerFileName=paramlog.loc[index]['Filename'] |  | Same as above but has loop through areas (instead of single specified area)
AESplot | AESreport | spelist, Elements, Smdifpeakslog, Backfitlog, Integquantlog, AESquantparams | [6 empty] | tk interface for args/kwargs of all AES report functions filtering by filenumber, filename incorporated in tk interface all args/dataframes must be passed through to plot functions | main tk interface to all types of plot reports (counts, deriv, counts+deriv or peaks)
AESplot | reportSD |  | paramlog, Smdifpeakslog, plotelems, AESquantparams, PDFname='SDplot_report' |  | getplotboundaries,getelemenergy,findevbreaks,maketitlestring,makenoisebars,plot |  |  | generalized newer version of SDmajor, plots all spe files, associated quant points, and labels selected elemental lines plt.ioff() if PDFname=='SDplot_report': # using default name with date now=datetime.datetime.now() PDFname=PDFname+'_'+now.strftime('%d%b%y')+'.pdf' with PdfPages(PDFname) as pdf: | 10/2/16 working | main deriv plot function; Similar but with list of plotelems
AESplot | plotpeaks | AESplot_gui | spelist, plotrange, AESquantparams | plotelems, areas | [5 empty] | Plot a single interactive frame over desired range with passed filenumbers/ areas uses background-subtracted data over region of peaks (Peaks col generated by integ)
AESplot | reportpeaks | reportpeaksall | dfselect, plotelems, AESquantparams, PDFname='Peaks_report.pdf' |  | getplotboundaries,getelemenergy,findevbreaks,plot |  |  | Peaks report for subset of files (i.e. outliers) and only plots listed filenum and areanum (no all areas loop plots subtracted data for all spe files plt.ioff() with PdfPages(PDFname) as pdf: for index,row in dfselect.iterrows(): # iterrows avoids reindexing problems AugerFileName=dfselect.loc[index]['Filename'] areanum=dfselect.loc[index]['Areanumber'] | Version for selected filenums, areanums (no loop through areas)
AESplot | reportpeaksall |  | spelist, plotelems, AESquantparams, PDFname='Peaks_report.pdf' |  | getplotboundaries,getelemenergy,findevbreaks,reportpeaks,plot |  |  | Generalized version of reportpeaksmajor working from spelist (loop over spatial areas plots subtracted data for all spe files plt.ioff() with PdfPages(PDFname) as pdf: for index,row in spelist.iterrows(): # iterrows avoids reindexing problems AugerFileName=spelist.loc[index]['Filename'] numareas=int(spelist.loc[index]['Areas']) |  | Same as above but has loop through areas (instead of single specified area)
Maybe modify plot reports to allow multiple areas in single plot (different colors and/or styles) … pass as argument
AESplot | reportcountsback |  | paramlog, plotelems, AESquantparams, backfitdf=False, PDFname='countsback_report.pdf' |  | getplotboundaries,getelemenergy,findevbreaks,plot |  |  | Plot of list of passed elements pass list of files and selected background regions from automated fitting background fits themselves stored with auger csv files optional pass of backfitlog (w/ points defining region boundary for background fitting useful for troubleshooting fits) evbreaks from multiplex plotted as red lines (often different dwell times for different elements) plotback switch -- whether or not to plot plt.ioff() | Finish single spectral region version and call from within loop | multi-page report w/ counts and background fits (includes associated points from linearfitlog)
AESplot | AESplot1 | getbackfitptsAESplot_tkplot | files, spelist, AESquantparams, **kwargs | backfitdf,xrange,plotcol,smdifpeaks,areas,plotelems | parsefilenums,parseareas,findevbreaks,findelemlines,getbackfitpts,plot |  |  | Plot a single frame over desired range with passed filenumbers/ areas plotelems kwarg is list of elements who's ideal position will be shown as blue vert line on plot filenumbers - Single # or list of numbers TODO add yrange as kwarg? kwargs: xrange, yrange plotelems - set of elements to label backfitdf -- optional background fitting smdifpeaks -- optional plot of pts in S7D7 used for amplitude determination |  | plot of single file by filenumber over specified energy range; element positions as vert blue lines (using plotelems list); ev breaks are vert red lines
PLOT UTILITY FUNCTIONS
AESplot | getelemenergy | reportderivcnt, reportderivcntall, reportSD, reportcountsback, reportpeaksall, reportpeaks | plotelems, plotrange, AESquantparams, deriv=False |  | plot |  | paired | Pass plotted data range as tuple or string and list of desired elements for plotting, return paired list of elemental and ideal energies only returns element if in range of the given plot; can return either direct peak ideal position or deriv peak ideal position (using deriv switch) negpeak is energy of peak deriv peak whereas direct peak is negpeak- integpeak (expressed as eV shift elemlines=[] # energies list # Return empty list of plotelems only if eV range is passed |  | finds ideal peak positions for either direct or deriv (negative peak) positions
AESplot | maketitlestring | reportderivcnt, reportderivcntall, reportSD | plotpts |  | plot |  | titlestring | Extract label for plot containing element peak amplitude, noise amplitudes (at lower and higher eV), and significance (elem amplitude/noise amplitude) add as title string in subplots for each peak; plotpts dataframe slice usually has 1 (but sometimes 2) elements ampl=plotpts.iloc[0]['Amplitude'] noisel=plotpts.iloc[0]['Lowbackamplitude'] noiseh=plotpts.iloc[0]['Highbackamplitude'] sigl=ampl/noisel sigh=ampl/noiseh amplstr=str(int(ampl)) | done | extract label for plot containing element peak amplitude, noise amplitudes (at lower and higher eV), and significance (elem amplitude/noise amplitude)
AESplot | findelemlines | AESplot1 | plotelems, xrange, AESquantparams |  | plot |  | energies if in range | Pass list of element peaks and plot range; return energies if in range # plotelems=plotelems.replace('Fe','Fe Fe1 Fe2') # choose all Fe lines # elems=[str(s) for s in plotelems.split(' ')] elemlines=[] # energies list peaks=AESquantparams[AESquantparams['element'].isin(plotelems)] # select rows in element list peaks=peaks[(peaks['negpeak']>xrange[0]) & (peaks['negpeak']<xrange[1])] elemlines=peaks['negpeak'].tolist() | done | Return energies of lines mentioned in plotelems string from main, return only if within plot rage (range passed as tuple)
AESplot | findevbreaks | AESplot1, reportderivcnt, reportderivcntall, reportSD, reportcountsback, reportpeaksall, reportpeaks | Params, Augerfile |  | plot |  | coords of necessary vertical lines for matplotlib | Pull index # of multiplex evbreaks and return coords of necessary vertical lines for matplotlib Augerslice as df will have same indices as original logmatch should already contain info for this spectrum (evbreak index #s needed) evbreaks=Params.Evbreaks # needed to avoid endpoints or energy breaks during peak searches if type(evbreaks)==str: # create list of ints from loaded string of format [0, 115, 230, 361] tempstring=evbreaks.split('[')[1] tempstring=tempstring.split(']')[0] # remove brackets commonly around written list evbreaks=[int(s) for s in tempstring.split(',')] # int conversion | done | Pull index # of multiplex evbreaks and return coords of necessary vertical lines for matplotlib
AESplot | parseareas | AESplot1 | areas, numareas |  |  |  | myareas | takes string containing areas and returns set of ints for chosen areas, defaults to all areas if not specified myareas= set() invalid = set() # tokens are comma seperated values tokens = [x.strip() for x in areas.split(',')] if areas=='' or areas=='all': # defaults to all areas for i in range(1,numareas+1): myareas.add(int(i)) | done | Takes string containing areas and returns set of ints for chosen areas, defaults to all areas if not specified
AESplot | getplotboundaries | reportderivcnt, reportderivcntall, reportSD, reportcountsback, reportpeaksall, reportpeaks | Augerfile, plotelems, AESquantparams, colname='Energy' |  | uniquify,plot |  | range for duplicates (ie. Fe2 is in Fe plot range, Ca in C plot range so | Gets typical boundary of plots of given line from quantparams from plotelems but remove duplicates or remove if no data in range do not return range for duplicates (ie. Fe2 is in Fe plot range, Ca in C plot range so return 0s defaults to checking for vals in energy column but can check peaks or other cols can also just pass string with ev range plotranges=[] # returns list of length 2 lists for valid elements for i, elem in enumerate(plotelems): |  | for each element, get plot range and make sure data is not empty
AESplot | combineranges | getplotboundaries | [6 empty] | sympy long problem?
AESplot | uniquify | getplotboundaries | mylist |  |  |  | uniquelist | tuplelist=[tuple(l) for l in mylist] seen = set() seen_add = seen.add uniquelist=[x for x in tuplelist if not (x in seen or seen_add(x))] uniquelist=[list(l) for l in uniquelist] return uniquelist def cloneparamrows(df):
AESplot | parsefilefilters | tk interfaces | [6 empty] | done | filtering by number and/or string on filenumber and/or filename
AESplot | parsefilenums | AESplot1 | filestr |  |  |  | myfiles | Takes string containing filenumbers or ranges of filenums and returns as int list myfiles= set() invalid = set() # tokens are comma seperated values tokens = [x.strip() for x in filestr.split(',')] for i, tok in enumerate(tokens): try: # typical tokens are ints
AESplot | makenoisebars | reportSD | plotpts |  | plot |  | noisebars | Create vertical line/bars showing noise amplitude determination at lower and higher energy TODO do this in a bit more systematic way lnoiseamp=int(plotpts.iloc[0]['Lowbackamplitude']) hnoiseamp=int(plotpts.iloc[0]['Highbackamplitude']) lowenergy=int(plotpts.iloc[0]['Lowback']) highenergy=int(plotpts.iloc[0]['Highback']) tup1=(lowenergy,-lnoiseamp/2, lnoiseamp/2)
AESplot | getbackfitpts | AESplot1 | backfitdf, AugerFileName, areanum |  | AESplot1,plot |  | indexptslist | Find points over which background fit was performed (for scatter plots) called by AESplot1 thisfilebackpts=backfitdf[(backfitdf['Filename']==AugerFileName) & (backfitdf['Areanumber']==areanum)] indexptslist=[] # this gets all the lower1, lower2, upper1, upper2 index point boundaries thisarr=thisfilebackpts.Lower1.unique() thislist=np.ndarray.tolist(thisarr) indexptslist.extend(thislist) thisarr=thisfilebackpts.Lower2.unique()
AESplot | AESplot_gui |  | spelist, Elements, Smdifflog, Backfitlog, Integlog, AESquantparams, **kwargs |  | AESplot1,abort,plot |  |  | tk interface for args/kwargs of AESplot1 function all args/dataframes must be passed through to plot functions
AESplot | AESreport | [8 empty] | Master tk interface for all 4 main reporting function
AESplot | changeelems | plot | event |  | plot |  |  | newelemlist=AESutils.pickelemsGUI(AESquantparams) # get new elements/peaks list newelems.set(', '.join(newelemlist)) newtext='Peaks to be labeled: '+', '.join(newelemlist) plotelemstr.set(newtext) def abort(event): choice.set('abort') root.destroy()
AESplot | cloneparamrows |  | df |  |  |  | df | Make param log entry for for each areanum - used by calccomposition to correctly process spe files with multiple spatial areas passed df is usually list of spe files this solves problem that AugerParamLog only has one entry (despite possibly having multiple distinct areas with different spectra df['Areanumber']=1 # set existing entries as area 1 mycols=df.dtypes.index newrows=pd.DataFrame(columns=mycols) for index, row in df.iterrows(): numareas=int(df.loc[index]['Areas']) | is this legacy?
AESplot dev | duplicatesplot | [8 empty] | Plot by color for duplicated measurements of same sample
Legacy plotting functions (replaced by generalized ones)
AESplot legacy | plotSDmajor | [7 empty] | needs updating (but report style normally used) | 2x3 plot of Si, Mg, S, Fe, C/Ca, and O (smooth-differentiated, w/ smdif calculation points, noise bars, etc.)
AESplot legacy | plotcntsmajor |  |  |  | findevbreaks |  |  |  | needs updating (but report style normally used)
AESplot legacy | PlotSDmajor
AESplot legacy | Plotcntsmajor | main | [7 empty] | 2x3 plot of Si, Mg, S, Fe, C/Ca, and O (direct peak and backgrounds)
AESplot legacy | reportcountsmajor | [8 empty] | multi-page PDF report of counts
AESplot legacy | reportSDmajor | legacy (use above) | [6 empty] | done | legacy… multi-page PDF report of all major smooth-diff peaks (predefined for 6 major elements… replaced by generalized reportSD | Get this working with specified areas (instead of full spelist with area loop)
AESplot legacy | reportpeaksmajor | [8 empty] | legacy...multi-page PDF report with predefined major peak subset
Auger plot dev | plotAESreg | legacy? | [7 empty] | probably obsolete
AESplot legacy | setplotrange |  | plotrange, Augerfile |  | plot |  | myplotrange | Set range of plot based on element, numerical range or default to max range of spectrum commonly called by Auger plot functions below if '-' in plotrange: # determine range for plot myplotrange=(int(plotrange.split('-')[0]),int(plotrange.split('-')[1])) elif plotrange=='C': myplotrange=(236,316) elif plotrange=='Ca': myplotrange=(236,336) | done | Legacy … using getplotboundaries: sets range of plot based on element, numerical range or default to max range of spectrum
| assembledataset | [8 empty] | Makes larger list of Auger params (via recursive search)
Auger alt function | fitlinearregion | fitbackgrounds | [6 empty] | Done | Fits a single sliced data region
AESutils | pickelemsGUI |  | AESquantparams | [6 empty] | interactively choose elements for quant or plots
AESutils | writecomps | main | df, AESquantparams, Elems |  |  |  |  | Store composition results in auto-named, autosaved xls along with subset of elements used and second tab with k-factors employed, lines of element used now=datetime.datetime.now() elemstr=Elems[0]+'ampl' if elemstr in df: # comp derived from deriv data savename='smdiffcomp_'+datetime.date.strftime(now, "%d%b%y")+'.xlsx' sheetname='smdiffcomp' else: # comp from integ method | Done | Package composition results and AESparams used to Excel file
AESutils | checkparamlog | import main | AugerParamLog, makeentry=False |  |  |  | AugerParamLog | Checks the Auger parameters logbook against actual csv spectral files, correct path if necessary prints out filenumbers that have a problem to console #TODO fix this so it works with new blanklog containing filenames (due to degenerate filenumber problem) # find csv file in current and /sub directory spelist=[] # list of filenumbers of spe files in directory sublist=[] # csv files that are in sub directory allcsvfiles=glob.glob('**/*.csv', recursive=True) |  | makeentry option adds entry using best guesses as to new data
AESutils | truncatenumber |  | AugerParamLog,Smdifpeakslog |  |  |  | AugerParamLog, Smdifpeakslog | Shortens long combo file name to 3 digit version for i in range(0,len(AugerParamLog)): val=str(AugerParamLog.iloc[i]['Filenumber']) if len(val)==6 or len(val)==7: newval=int(val[0:2]) if len(val)==8: newval=int(val[0:3]) AugerParamLog.iloc[i]['Filenumber']=newval |  | Shortens long combo file name to 3 digit version in both Augerparamlog and Smdifpeakslog
AESutils | removefromlog |  | df1, df2 |  |  |  | df2 | If filename is in df1, remove these entries from df2.. then manually save removal=df1.Filename.unique() removal=np.ndarray.tolist(removal) df2=df2[-df2.Filename.isin(removal)] # inverse of isin return df2 def dropcolumns(df1,df2): Pass two dfs with df2 being the template.. extra unnecessary columns dropped from df1 |  | various file management functions for Auger spectra and logs
AESutils | movefiles |  | df, destdir |  |  |  |  | Moves files named in dataframe to selected location for index, row in df.iterrows(): filename=df.loc[index]['Filename'] if os.path.exists(filename): newname=destdir+filename shutil.move(filename, newname) print(filename, 'moved to ', destdir) else:
AESutils | deletefiles |  | df |  |  |  |  | Grab csv of each file in current df (e.g. after slicing) and copy to select subfolder also save current filelog as AugerParamLog after path modification for index, row in df.iterrows(): filename=df.loc[index]['Filename'] if os.path.exists(filename): os.remove(filename) print(filename, 'deleted.') return
AESutils | removelistdups |  | df, colname |  |  |  | ''' | Remove duplicates from any list stored within df column and return for index,row in df.iterrows(): thisstr=df.loc[index][colname] if str(thisstr)!='nan': tempstring=thisstr.split('[')[1] tempstring=tempstring.split(']')[0] # remove brackets evbreaks=[int(s) for s in tempstring.split(',')] # turn string into list of ints evbreaks=set(evbreaks) |  | goes to df column that holds a list and removes duplicate entries in that list
AESutils | copyexclusion |  | df1,df2 |  |  |  |  | If AugerFileParams shows exclusion of an entire spectrum, copy 'excluded' into comments of other logs for each peak #TODO finish this comment copying function return def copyproblemcomments(df1,df2): If there's a problem noted in comments of integlog, copy over to smdiflog (or vice versa) | finish copyexclusion | transfer notes about problematic peaks between smdiff and integ quant methods
AESutils | copyproblemcomments |  | df1,df2 |  |  |  | df2 | If there's a problem noted in comments of integlog, copy over to smdiflog (or vice versa) problemlist=df1['Comments'].str.contains('problem', case=False, na=False) problems=df1.loc[problemlist] if 'Comments' not in df2: df2['Comments']='' # add comments col (sometimes missing from smdifpeakslog) for index, row in problems.iterrows(): filenum=problems.loc[index]['Filenumber'] elem=problems.loc[index]['Element']
AESutils | findduplicates |  | df |  |  |  | dups | Return subset with same sample name but different file number (avoids multiple spatial areas from same crater which may be heterogeneous) samplelist=df.Sample.unique() samplelist=np.ndarray.tolist(samplelist) keeplist=[] # index # of for i, sample in enumerate(samplelist): match=df[df['Sample']==sample] temp=match.Filenumber.unique() if len(temp)>1: # keep them |  | Returns subset that have an identical duplicated spectrum (removes those with only multiple areas and same filenumber)
AESutils | compareduplicatecomps |  | df, elemlist |  |  |  | duplicatecompdata | Return subset with same sample name but different file number (avoids multiple spatial areas from same crater which may be heterogeneous) samplelist=df.Sample.unique() samplelist=np.ndarray.tolist(samplelist) # make dataframe for output mycols=['Sample', 'Filenumber', 'Filename','Areanumber', 'AESbasis'] commoncols=['Sample', 'Filenumber', 'Filename','Areanumber', 'AESbasis'] for i, elem in enumerate(elemlist): mycols.append('%'+elem) |  | takes duplicates found above and returns compositional summary
AESutils | addsmoothloop | quant alt workflow | spelist |  | smooth7cnts |  |  | Add smoothed counts data column for each area for i in range(0,len(spelist)): # get ith row from parameters log for subset of selected spe files (i.e. from spelist) logmatch=spelist.iloc[i] #contains row with filename and all other parameters from a given spectra logmatch=logmatch.squeeze() # convert/flatten to Series numareas=int(logmatch.Areas) # get # of spatial areas for this spe # load Auger spe file of interest here AugerFileName=logmatch.Filename # get Auger filename from Series |  | create 7 pt smoothed dataset (now incorporated in import process but use on older files)
AESutils | smooth7cnts | addsmoothloop | df, areanum, evbreaks |  |  |  | df | create smooth differentiated column from counts using S7D7 PHI algorithm (Multipak tables A-5 and A-1 version for rerun on combined spectra with internal ev breaks countname='Counts'+str(areanum) smcountname='Smcounts'+str(areanwum) counts=df[countname].tolist() # convert to list numpts=len(counts) smooth=[0]*numpts # empty list of correct length for smoothed data # smoothing of endpoints according to Multipak algorithm appendix table A-5 |  | 7 pt smooth on individual df counts column
AESutils | dropexcluded | main | df, spelist | [6 empty] | Remove filenumbers not in filtered spelist
AESutils | pickspectraGUI |  | spelist |  |  |  |  | Quick method of interactively selecting spectral files for plotting only elements with info in quant params csv files are selectable returns dataframe subset (then pass to plotting functions) # All available elements/peaks are those with entries in Aesquantparams.csv files=np.ndarray.tolist(spelist.Filenumber.unique()) root = tk.Tk() varlist=[] # list of tkinter IntVars
AESutils | pickelemsGUI |  | AESquantparams |  |  |  |  | Quick method of interactively selecting elements/lines for plotting has some hard-coded presets that can be changed using preset dictionaries below only elements with info in quant params csv files are selectable Note.. only tkinter variables exist after root.destroy # Subset of elements selected (on) by default elemdict={'S':1,'C':1,'Ti':1,'O':1,'Fe1':1,'Fe2':1,'Na':1,'Mg':1,'Al':1,'Si':1,'Fe':1,'Ca':1} preset1={'S':1,'Mg':1,'Si':1,'Fe':1,'Ca':1,'Fe2':1}
AESutils | loadsubfiles | [5 empty] | sub-files (combinable spe files collected in sequence using AutoTool loops) | Load of standard sub spe files (before combination via averaging from working Auger data directory # find and return sub-files (combinable spe files collected in sequence using AutoTool loops) if os.path.isfile('Augerparamlog.csv'): AugerParamLog=pd.read_csv('Augerparamlog.csv', encoding='cp437') logfile=glob.glob('*Auger_log*') # find ... Auger_logbook. subfilenums=[] # list of possible sub files if len(logfile)==1: # found logbook name=logfile[0]
AESutils | loadmainfiles | [5 empty] | AugerParamLog, spelist, Smdifpeakslog, Integquantlog, Backfitlog, AESquantparams | Load of standard files from main Auger data directory if os.path.isfile('Augerparamlog.csv'): AugerParamLog=pd.read_csv('Augerparamlog.csv', encoding='cp437') AugerParamLog['Comments']=AugerParamLog['Comments'].astype(str) # necessary if all blank/nan spelist=AugerParamLog[(AugerParamLog['Areas']>=1)] excludemask=spelist['Comments'].str.contains('exclude', case=False, na=False) spelist=spelist.loc[~excludemask] spelist=spelist.sort_values(['Filenumber'], ascending=True)
AESutils | dropexcluded |  | df, spelist |  |  |  | df | Only returns subset of df with filenumber in list passed by second argument filelist=spelist.Filenumber.unique() df=df[df.Filenumber.isin(filelist)] return df def writecomps(df, AESquantparams, Elems): Store composition results in auto-named, autosaved xls along with subset of elements used and second tab with k-factors employed, lines of element used
AESutils | updatepaths |  | AugerParamLog |  |  |  | AugerParamLog | Checks parameter log to make sure path to Auger csv files in AugerParamLog is correct single log holds those in dir (combined or unique files) and those in subdir (source files before average via combination) path=os.getcwd() # basepath='Research_data'+path.split('Research_data')[1] for index, row in AugerParamLog.iterrows(): name=AugerParamLog.loc[index]['Filename'] if 'csv' not in name: # jpgs derived from sem and map files will not be in //sub
AESutils | assembledataset |  | paramloglist, integloglist, smdifloglist |  |  |  | Masterparamlog, Masterinteglog, Mastersmdiflog | Construct master paramlog, integlog, and smdiflog for list of directories used to create master data sets for later processing, plotting, etc. # Structure of created files sometimes changes over time... ensure consistency mycols=['Filenumber', 'Project', 'Filename', 'FilePath', 'Sample', 'Comments', 'Date', 'FieldofView', 'Type', 'Energy', 'GunVoltage', 'nA', 'Areas', 'Cycles', 'Timestep', 'Details', 'Evbreaks', 'Acqtime', 'Scanarea', 'X', 'Y', 'Z', 'Tilt', 'Rotation', 'ImageshiftX', 'ImageshiftY'] Masterparamlog=pd.DataFrame(columns=mycols)
AESutils | keepbestvals |  | df, spectralregs |  |  |  | df | For duplicate energy values, keep the one with largest # of sweeps # generate temporary index ranges for spectralregs (can't just use eneryg values) start=0 spectralregs['Start']=0 # for index #s spectralregs['End']=0 for index,row in spectralregs.iterrows(): lower=spectralregs.loc[index]['Lower'] upper=spectralregs.loc[index]['Upper']
AESutils | sortmultiplex |  | multiplex, evbreaks |  |  |  | multiplex, newevbreaks | Rearrange multiplex if taken out of order and adjust evbreaks accordingly evbreaks holds index #s of multiplex breaks so must be altered along with multiplex sort only called if multiplex is not monotonically increasing energylist=[] for i, val in enumerate(evbreaks): energylist.append(multiplex.loc[val]['Energy']) if i>0 and i<len(evbreaks)-1: energylist.append(multiplex.loc[val+1]['Energy']) # starting ev for next spectral region
AESutils | avglogentry | makecomboentries | logmatches |  |  |  | avgentry # pandas series with all params and of correct dimension for append to main df log | create a logbook entry for a combine-averaged spectrum firststr=str(logmatches.iloc[0][0]) # averaged file name is numbered "firstnum"lastnum" laststr=str(logmatches.iloc[len(logmatches)-1][0]) avgnum=int(firststr+laststr) avgentry=logmatches.iloc[[0]] # avg entry has same values as first file for cols 1,3-15, 17-24 avgentry=avgentry.squeeze() # convert to series (avoids warnings regarding changing a slice of the df) # now change the small number of header params that will differ between single spe and averaged one avgentry.iloc[0]=avgnum # assign filenum for averaged as firstnum-lastnum
AESutils | makecomboentries |  | combinelist, AugerParamLog |  | avglogentry |  | new line for AugerFileParams logbook | Make log entry for average combined file using this loop and avglogentry function for index, row in combinelist.iterrows(): # large loop through each match this is normally done within combinespeloop for index, row in combinelist.iterrows(): # large loop through each match firstfile=int(combinelist.loc[index]['Filenumber']) # iloc grabs correct row from list of matches lastfile=int(combinelist.loc[index]['Lastnumber']) # look up filenames and # of areas associated with the above file range (all should have same # of area) logmatches=AugerParamLog[(AugerParamLog['Filenumber']>=firstfile) & (AugerParamLog['Filenumber']<=lastfile)]
AESutils | checklog |  | filelist, AugerParamLog |  |  |  |  | Pass list of csv files in directory and checks the user Auger parameter log matches the actual data file list from directory prints out filenumbers that have a problem to console spelog=AugerParamLog[(AugerParamLog['Areas']>=1)] loglist=spelog.Filename.unique() loglist=np.ndarray.tolist(loglist) missingdata=[i for i in loglist if i not in filelist] # list comprehension for missing data file (but present in excel logbook) missingentry=[i for i in filelist if i not in loglist] # list comprehension for data file with missing log entry (could also convert to sets and compare) for i, val in enumerate(missingdata):
AESutils | copyselectfiles |  | df,foldername |  |  |  |  | Grab csv of each file in current df (e.g. after slicing) and copy to select subfolder also save current filelog as AugerParamLog after path modification if not os.path.exists(foldername): # create subdirectory for raw spe/sem/map files & csv sub-files (when combined) os.makedirs(foldername) # just use current path curpath=df.iloc[0]['FilePath'] # should be same for entire folder newpath=curpath + "\\" + foldername
Alternate functions (working but not incorporated into normal workflow)
| fitlinearregionalt | [7 empty] | works | alt version using np.polyfit
| fileslice | [8 empty] | New way to parse and pass more complicated file-lists | Needs associated working plotting functions
AESplotstack
Auger_batch_import_functions | findshift |  | imagenum1, imagenum2, paramlog |  |  |  | shift, error | Pass pre and post- images, determine stage drift in microns and any uncorrected pixel shift and print it error is returned from register_translation match=paramlog[paramlog['Filenumber']==imagenum1] if len(match)==1: fname1=match.iloc[0]['Filename'].replace('.sem','.jpg') image1=Image.open(fname1) imshiftx1=match.iloc[0]['ImageshiftX'] |  | Determine stage drift during spe/map acquisition using pre and post images
Auger_batch_import_functions | makeannotatedjpg |  | AugerParamLog, SpatialAreas |  | annotatejpg,SpatialAreas |  |  | Searches log for spe and prior sem file to create image with annotated spatial areas For each spe, assume prior sem is image; pass/find number of areas and slice of spatialareas for this fnumber for i in range(0,len(AugerParamLog)): if '.csv' in AugerParamLog.iloc[i]['Filename']: spenum=AugerParamLog.iloc[i]['Filenumber'] # only create annotation if prior pre-image is taken (assumes same field as spe) jpgmatch=AugerParamLog[AugerParamLog['Filenumber']==spenum-1] if len(jpgmatch)==1 and '.sem' in jpgmatch.iloc[0]['Filename']:
Auger_batch_import_functions | makeblanklog | openorcreatelogbook, getparamfromlog | filelist |  |  |  | Augerlogbook | Make blank Excel log matching existing set of files (in cases where one was not created during data collection default naming scheme is prename.filenumber.sem or whatever but some changed to string_filenumber.sem mycols=['Project', 'Filename','Filenumber', 'Lastnumber', 'Sample', 'Comment', 'X', 'Y', 'Mag'] Augerlogbook=pd.DataFrame(columns=mycols) # blank df # get project name from directory fullpath=os.getcwd() pattern=re.compile(r'(\\)') match=re.finditer(pattern, fullpath)
Auger_batch_import_functions | openorcreatelogbook |  | filelist |  | makeblanklog |  |  | Looks for existing csv or xls log file ... if not found makes new one by calling makeblanklog logfile=glob.glob('*Auger_log*') # find ... Auger_logbook. if len(logfile)==1: # found logbook name=logfile[0] if '.xls' in name: # open log tab of existing excel file Augerlogbook=pd.read_excel(name, sheetname='Log') if '.csv' in name: # open csv Augerlogbook=pd.read_csv(name)
Auger_batch_import_functions | movespes | combinespelist | filelist, AugerParamLog |  |  |  | AugerParamLog # send back w/ subfiles removed | Move average-combined spectra to subfolder named 'sub', split AugerParamlogs to reflect this # split AugerParamLog between combined csv subfiles and everything else newparamlist=AugerParamLog[AugerParamLog['Filename'].isin(filelist)] AugerParamLog=AugerParamLog[~AugerParamLog['Filename'].isin(filelist)] # main log with csv subs removed (not in filelist) newparamlist=newparamlist.reset_index(drop=True) AugerParamLog=AugerParamLog.reset_index(drop=True) # Append sub to path for each entry
Auger_batch_import_functions | movecombinedspe | combinespeloop | combinelist, AugerParamLog |  |  |  | AugerParamLog # send back w/ subfiles removed | if spectrum is average-combined, move these subfiles to 'sub' directory and create new associated AugerParamLog... get file numbers from combinelist # construct int list of file numbers from combinelist matchlist=[] # list of integer filenumbers for df mask (to create separate AugerParamLog for sub csvs) for i in range(0,len(combinelist)): filenumber=int(combinelist.iloc[i]['Filenumber']) lastnumber=int(combinelist.iloc[i]['Lastnumber']) for num in range(filenumber,lastnumber+1):
Auger_batch_import_functions | getparamfromlog | Augerbatchimport | filename, filenumber, df |  | makeblanklog |  | 1) project name, 2) sample name 3) nA 4) comments from df (which is Augerlogbook) | Search through logbook and return 1) project name, 2) sample name 3) nA 4) comments from df (which is Augerlogbook) must keep in mind that for Autotool looped data with multiple filenumbers need to find given # in range pass AugerFileName since # pass Augerlogbook dataframe as df and search it # can use .all() .any() or .loc() .. SQL-like splitting of dataframes logrowmatch=df[(df['Filenumber']==filenumber)] # matches all except multiple .spe files collected with Autotool if logrowmatch.empty: # finds logrowmatch=df[(df['Filenumber']<filenumber) & (df['Lastnumber']>=filenumber)] # throws runtimewarning but works.. maybe install issue
Auger_batch_import_functions | makesavgol | avgcombinespe, makesurvey, makemultiplex | counts |  |  |  | savgollist # returns savitsky-golay smooth diff over same full region | Perform python smooth-diff used to guide selection of background regions perform this in chunks between evbreaks, works for survey or multiplex returns list with smooth-diff columns savgollist=[] # Empty list to hold savgol data thisreg=np.asarray(counts) # convert list to array window_size=11 deriv=2
Auger_batch_import_functions | makesavgolbreak | avgcombinespe | counts, evbreaks |  |  |  | savgollist # returns savitsky-golay smooth diff over same full region | Perform python smooth-diff used to guide selection of background regions perform this in chunks between evbreaks, works for survey or multiplex returns list with smooth-diff columns savgollist=[] # Empty list to hold savgol data for i in range(0,len(evbreaks)-1): thisreg=counts[evbreaks[i]:evbreaks[i+1]] # slice into separate multiplex regions and process separately thisreg=np.asarray(thisreg) # convert list to array
Auger_batch_import_functions | smoothdiffS7D7 | avgcombinespe, makesurvey, makemultiplex, SpectralRegions | cnts |  |  |  | smooth, smoothdiff | create smooth differentiated column from counts using S7D7 PHI algorithm (Multipak tables A-5 and A-1 numpts=len(cnts) endpts=[0,len(cnts)-1] # legacy way of defining endpoints and internal breaks (although those no longer present) smooth=[0]*numpts # empty list of correct length for smoothed data smoothdiff=[0]*numpts # 7 pt diff of above smoothed data # smoothing of endpoints according to Multipak algorithm appendix table A-5 for i in range(0,numpts): # special cases for endpoints (within 3 of an evbreak) diff=i-min(endpts, key=lambda x:abs(x-i)) # distance from closest evbreak index # in list
Auger_batch_import_functions | smoothdiffS7D7b | avgcombinespe | counts, evbreaks |  |  |  | smooth, smoothdiff # | create smooth differentiated column from counts using S7D7 PHI algorithm (Multipak tables A-5 and A-1 version for rerun on combined spectra with internal ev breaks numpts=len(counts) smooth=[0]*numpts # empty list of correct length for smoothed data smoothdiff=[0]*numpts # 7 pt diff of above smoothed data diffcol=[0]*numpts # testing # smoothing of endpoints according to Multipak algorithm appendix table A-5
Auger_batch_import_functions | makesurvey | processAuger | bindata, csvdataname, extractargs |  | makesavgol,smoothdiffS7D7,processAuger |  | 7pt smooth and smooth-diff S7D7 for each | function to extract binary spe survey data to dataframe for csv export called from processAuger if file is survey spe and csv doesn't exist needed variables for survey: starting eV (aka lower); evstep, # of points, # of areas # can read numbers of areas and # of pts from binary header (after text header) but pass them anyway survey=pd.DataFrame() # data frame for energy, and counts col for each area # create energy values list and add to survey dataframe startev=extractargs.get('startev')
Auger_batch_import_functions | makemultiplex | processAuger | bindata, csvdataname, energy, evbreaks, numareas, spectralregs |  | makesavgol,smoothdiffS7D7,sortmultiplex,SpectralRegions |  | evbreaks | function to create a csv file containing the extracted multiplex spectral values list of energy values are passed from SpectralRegions function (energy x values are not continuous for multiplex) bindata is rest of binary after text header extraction evbreaks are index# of boundaries between spectral regions mystruct=struct.Struct('f') # binary header of variable length.. just count backward using known data length startbyte=len(bindata)-4*numareas*len(energy)
Auger_batch_import_functions | keepbestvals | sortmultiplex | df, spectralregs |  |  |  | df | For duplicate energy values in multiplex scans, keep the one with largest # of sweeps # generate temporary index ranges for spectralregs (can't just use eneryg values) start=0 spectralregs['Start']=0 # for index #s spectralregs['End']=0 for index,row in spectralregs.iterrows(): lower=spectralregs.loc[index]['Lower'] upper=spectralregs.loc[index]['Upper']
Auger_batch_import_functions | sortmultiplex | makemultiplex | multiplex, evbreaks, spectralregs |  | keepbestvals |  | multiplex, newevbreaks | Rearrange multiplex if taken out of order and adjust evbreaks accordingly evbreaks holds index #s of multiplex breaks so must be altered along with multiplex sort only called if multiplex is not monotonically increasing energylist=[] for i, val in enumerate(evbreaks): energylist.append(multiplex.loc[val]['Energy']) if i>0 and i<len(evbreaks)-1: energylist.append(multiplex.loc[val+1]['Energy']) # starting ev for next spectral region
Auger_batch_import_functions | makejpg | processSEM | bindata, jpgname, resolution, fieldofview |  | processSEM |  |  | Extract raw binary SEM image (512x512 or whatever), convert to jpg and saves with scaled dpi such that 10 micron field of view image measures 10x10cm in photoshop; only called by processSEM if jpg doesn't already exist # Read in the binary data from bindata and convert # structure is 4 byte floats of length resolution^2 starting at byte 112 startbyte=112 # doesn't seem to vary for surveys mystruct=struct.Struct('f') # TEST for correct byte location... should have leading zeros for bytes 100:111 for raw sem image
Auger_batch_import_functions | makemaps | processMap | bindata, jpgbasename, resolution, fieldofview, mapelements |  |  |  |  | Extracts raw image data and creates jpg for each mapped element: pass binary data string, base name for jpgs, resolution, field of view and list of mapped elements # find startbyte by just subtracting known data length from the end startbyte=len(bindata)-4*len(mapelements)*resolution**2 maplength=resolution**2 # size of each elements map in bytes mystruct=struct.Struct('f') # TEST for correct byte location... should have leading zeros for bytes 100:111 for raw sem image for i in range(startbyte-12,startbyte,4):
Auger_batch_import_functions | SpectralRegions | makemultiplex, processAuger | filenumber, AugerFileName, numcycles, timestep, header |  | smoothdiffS7D7 |  | details, evbreaks, timeperarea, energy, SpectralRegs | Subroutine to pull multiplex spe params (e.g. elements and spectral regions), calculate acquisition time for multiplex .spe file tempstring=header.split('NoSpectralReg: ')[1] # unlike NoSpectralRegFull inactives are already removed match=re.search(r'\d+',tempstring) numdefregions=int(match.group(0)) # number of defined regions (can be larger than # active regions) SpectralRegs=pd.DataFrame(columns=['Filenumber','Filename','Numcycles','Timestep','Element','Sweeps','Evstep','Lower','Upper','Time']) numregions=0 # active regions (as opposed to nominal defined regions) timeperarea=0 #initialize as zero details='' # string for element list
Auger_batch_import_functions | SpectralMapRegions | processMap | filenumber, AugerFileName, timestep, header |  |  |  | details, timeperarea | Subroutine to pull mapping params and calculate acquisition time for .map file; all saved in param log csv # determine if 2pt map or 3 pt map from header tempstring=header.split('ScanMode: ')[1] tempstring=tempstring.split('point')[0] ptsmode=int(tempstring) # should be 2 or 3 # determine number of pixels tempstring=header.split('NoMapPixelsXY: ')[1] tempstring=tempstring.split(' ')[0]
Auger_batch_import_functions | SpatialAreas | annotateone, makeannotatedjpg, SpatialAreas, processAuger, Augerbatchimport | header,fieldofview, filenumber, AugerFileName |  | SpatialAreas |  | numareas, totalarea | SpatialAreas outputs the areas defined in Auger and calculates/returns number of areas and total area tempstring=header.split('NumSpatialAreas: ')[1] match=re.search(r'\d+',tempstring) numdefareas=int(match.group(0)) # number of defined areas (can be larger than # active areas) SpatialAreas=pd.DataFrame(columns=['Filenumber','Filename','Areanumber','X1','Y1','X2','Y2','Area']) # easier to use frame than dict numareas=0 totalarea=0 #initialize as zero for i in range(numdefareas):
Auger_batch_import_functions | processAuger | makesurvey, processAuger, Augerbatchimport | AugerFileName |  | makesurvey,makemultiplex,SpectralRegions,SpatialAreas,processAuger |  | multiplex params | processAuger pulls 20 important parameters from spe file header and saves in csv param log with open(AugerFileName, 'rb') as file: filedata = file.read() end=filedata.find(b'EOFH') headerdata=filedata[0:end+6] # works to cut off binary part header=headerdata.decode(encoding='cp437') # more generic encoding than utf-8 # temporary dict for holding important file parameters Augerparams={'Filenumber':'','Project':'','Filename':'','FilePath':'','Sample':'','Comments':'','Date':'','FieldofView':'','Type':'','Energy':'','GunVoltage':'','nA':'','Areas':'','Cycles':'','Timestep':'','Details':'','Evbreaks':'','Acqtime':'','Scanarea':'','X':'','Y':'','Z':'','Tilt':'','Rotation':'','ImageshiftX':'','ImageshiftY':''}
Auger_batch_import_functions | processSEM | makejpg, Augerbatchimport | AugerFileName |  | makejpg |  | Augerparams | pulls header info parameters from .sem image files and saves in master param log with open(AugerFileName, 'rb') as file: filedata = file.read() end=filedata.find(b'EOFH') headerdata=filedata[0:end+6] # works to cut off binary part header=headerdata.decode(encoding='cp437') # more generic encoding than utf-8 # temporary dict for holding important file parameters Augerparams={'Filenumber':'','Project':'','Filename':'','FilePath':'','Sample':'','Comments':'','Date':'','FieldofView':'','Type':'','Energy':'','GunVoltage':'','nA':'','Areas':'','Cycles':'','Timestep':'','Details':'','Acqtime':'','Scanarea':'','X':'','Y':'','Z':'','Tilt':'','Rotation':'','ImageshiftX':'','ImageshiftY':''}
Auger_batch_import_functions | processMap | Augerbatchimport | AugerFileName |  | makemaps,SpectralMapRegions |  | Augerparams | pulls header info parameters from Auger .map files and saves in master param log with open(AugerFileName, 'rb') as file: filedata = file.read() end=filedata.find(b'EOFH') headerdata=filedata[0:end+6] # works to cut off binary part header=headerdata.decode(encoding='cp437') # more generic encoding than utf-8 # temporary dict for holding important file parameters Augerparams={'Filenumber':'','Project':'','Filename':'','FilePath':'','Sample':'','Comments':'','Date':'','FieldofView':'','Type':'','Energy':'','GunVoltage':'','nA':'','Areas':'','Cycles':'','Timestep':'','Details':'','Acqtime':'','Scanarea':'','X':'','Y':'','Z':'','Tilt':'','Rotation':'','ImageshiftX':'','ImageshiftY':''}
findnegpeaks
Note on L4: List of shifts for this list of elements from spectrum and area
Note on K5: Elemdata intermediate step no longer needed fit linear regions and use outliers to refine fit regions
Note on K10: Fitparams list is: slope, std dev of slope, intercept, sd_intercept, r_val, p_value, std_err Switch to np.polyfit with cov=Full… easily get stdev for both slope and intercept
Note on K11: Threshold is number of stdevs of deviation allowed
Note on K21: if gaussian fit fails, use integpeak value as xc center of integration (ideal peak shifted by sm-diff result)
Note on K23: sig=2 .. 2 sigma errors for error propagation
Note on K24: Can use average of lines if multiple peaks are present (i.e. avg of Fe and Fe2)
Note on K29: Saves new df column as Smcounts1, etc.
Note on K36: prints out filenumbers that have a problem to console
Note on K46: For multi-area, multiplex data is ordered by spectral reg then area (not all regions from 1st area)
Note on K47: dpi changes such that 10 micron field of view image measures 10x10cm in photoshop
Note on K62: Can use average of lines if multiple peaks are present (i.e. avg of Fe and Fe2)
Note on D86: Set up lines and conditions in csv file (normally pulled from Auger_kfactors which operates on values from AEsquantparams
Note on K86: multiplex_acq.csv Set up lines and conditions in csv file (normally pulled from Auger_kfactors which operates on values from AEsquantparams
Note on E89: intersperse image registrations within autotool loop (not within single multiplex; Allows use of flexible interval
Note on K90: Autotool: register image, take image, load multiplex params, then load spatial area , collect multiplex for all areas finally take image
Note on K92: Probably delete sub-csv files (but keep original spe ones)
Note on L92: This data is a straight duplication
Note on K101: smdifpeakslog has amplitude for each element/each area within given filenumber Spatialareas provides guide to which areas in spe/csv file correspond to areas within 512x512 image (resampled to 512x512)
Note on H117: Dictionary w/ key as element and value is 100,100,3 array holding 0) summed raw counts 1) integrated background counts 2) subtracted integrated peak counts
Note on H121: Shiftdict contains elem name key and val is 2D image with shifts (in eV) from ideal position peakstats prints and returns avg shifts across entire image
Note on H123: Peakampl is strength of smdiff peak underlying the charge determination
Note on H130: Summary of multiplex regions (both peak and background L, H regions)
Note on K150: Can plot discrete elements list or eV range
Note on J155: Need one version for looping through areas and another for just sublist of selected filenumbers and area#s (i.e. for outlier plots)
Note on K158: Useful for checking quality of automated fitting of background regions (linear method _ interpolation)
Note on K175: Includes filestring and filenumber filtering on report output
Note on K186: Kevin Croat: ideal peak position in blue vert lines evbreaks in red vert lines plot black vert line at energy values used for Smdiff quant?
Note on K187: has evbreaks as red lines has ideal peak position in blue plots points used to determine peak intensities
Note on K188: Kevin Croat: ideal peak position in blue vert lines evbreaks in red vert lines plot black vert line at energy values used for Smdiff quant?
Note on K194: No longer used after redesign of background fitting procedure
Note on D196: Lines only available if specified in AESquantparams
Note on K197: Use xls and write elements to comment, package AESquantparams in separate tab
Note on K203: Encountered with Auger script for unknown reason in combined files